## Test_MCP_7
Pik4 | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum |  |  | Koło | Energia [MeV]
Kalibracja Co60 | Dawka = 1 Gy | [9 empty] | 500 |  |  | pozycja kola 500 krokow to 1.2642 mm + 0.00329*500 mm = 2.91 mm plexi = czyli 3.375 mm wody
k8_35.dat | 220 | 229824525 | 100 | 240 | 220 | 229824525 | 5805056147 | 63104102060 |  |  | 7112 |  |  | pozycja kola 7112 krokow to 1.2642 mm + 0.00329*7112 mm = 24.6627 mm plexi czyli 28.609 mm wody
k7_34.dat | 220 | 237901854 | 100 | 240 | 220 | 237901854 | 5975499402 | 65010406500
k6_33.dat | 220 | 214548477 | 100 | 240 | 220 | 214548477 | 5501004553 | 59981769910 |  |  | Energia wlotowa |  | Energia za 500 |  | Energia z 7112
k5_32.dat | 220 | 227477561 | 100 | 240 | 220 | 227477561 | 5752201764.5 | 62796097450 |  | Energia | 58.5 MeV |  | 54.66 MeV |  | 6-7 MeV
k4_9.dat | 220 | 219871158 | 100 | 240 | 220 | 219871158 | 5478503959 | 59626184640 |  | LET [kev/um] |  |  | 1.16 kev/um |  | 5.7-6.8 keV/um
k3_8.dat | 220 | 173647852 | 100 | 240 | 220 | 173647852 | 4489210257 | 48893872570
k2_7.dat | 220 | 205098957 | 100 | 240 | 220 | 205098957 | 5225942620 | 56925155860
k1_6.dat | 220 | 223633412 | 100 | 240 | 220 | 223633412 | 5513255567 | 60197050840
srednia | 220 | 216500474.5 | 100 | 240 | 220 | 216500474.5 | 5467584283.6875 | 59566829978.75 |  | Co-60
90%_PB
27_31.dat | 220 | 20359484 | 100 | 240 | 220 | 20359484 | 618027149 | 671287367
26_30.dat | 220 | 17077767 | 100 | 240 | 220 | 17077767 | 516269550.5 | 562902442
25_29.dat | 220 | 17940586 | 100 | 240 | 220 | 17940586 | 543385899.5 | 590628971
24_28.dat | 220 | 19067151 | 100 | 240 | 220 | 19067151 | 577096549 | 624876477
23_27.dat | 220 | 18264494 | 100 | 240 | 220 | 18264494 | 547182822 | 595065566
22_24.dat | 220 | 18280515 | 100 | 240 | 220 | 18280515 | 543457353.5 | 590160032
21_23.dat | 220 | 19324717 | 100 | 240 | 220 | 19324717 | 573811110 | 623103394
20_22.dat | 220 | 17717085 | 100 | 240 | 220 | 17717085 | 525826054 | 573335626
19_21.dat | 220 | 18319456 | 100 | 240 | 220 | 18319456 | 551585117 | 599120175
srednia | 220 | 18483472.7778 | 100 | 240 | 220 | 18483472.7778 | 555182400.5 | 603386672.2222 | 0.10154 | Eff. | 90%_BP
plateau_PB
18_20.dat | 220 | 174489607 | 100 | 240 | 220 | 174489607 | 4523646009.5 | 49224600820
17_19.dat | 220 | 189493301 | 100 | 240 | 220 | 189493301 | 4766439170 | 52240027400
15_18.dat | 220 | 173408302 | 100 | 240 | 220 | 173408302 | 4498970582.5 | 48939131740
14_17.dat | 220 | 178110388 | 100 | 240 | 220 | 178110388 | 4581740236.5 | 49965529010
13_16.dat | 220 | 197892073 | 100 | 240 | 220 | 197892073 | 4977470804 | 54298556590
12_15.dat | 220 | 166606815 | 100 | 240 | 220 | 166606815 | 4290063207.5 | 46858213730
11_12.dat | 220 | 171831355 | 100 | 240 | 220 | 171831355 | 4421312628 | 48253699560
10_11.dat | 220 | 193306571 | 100 | 240 | 220 | 193306571 | 4927786004 | 53732885060
9_10.dat | 220 | 184750106 | 100 | 240 | 220 | 184750106 | 4778281496 | 52098525090
srednia | 220 | 181098724.2222 | 100 | 240 | 220 | 181098724.2222 | 4640634459.7778 | 50623463222.2222 | 0.84875 | Eff. | plateau_PB

## Test_MTS_7
Pik 5 | ID | GlobalMaxX | GlobalMaxY | Zakres | LocalMaxX | LocalMaxY | Integral | Sum
Kalibracja Co60 | Dawka = 1 Gy
k8_36.dat | 220 | 6965211 | 100 | - | 350 | 220 | 313157649.5 | 234909462
k7_35.dat | 220 | 7479685 | 100 | - | 350 | 220 | 340148595.5 | 255359120
k6_34.dat | 220 | 7543169 | 100 | - | 350 | 220 | 340234530.5 | 255418874
k5_33.dat | 220 | 7679702 | 100 | - | 350 | 220 | 344652238 | 258363372
k4_10.dat | 220 | 7412189 | 100 | - | 350 | 220 | 335496088 | 251394553
k3_9.dat | 220 | 7018271 | 100 | - | 350 | 220 | 315353476.5 | 236829685
k2_8.dat | 220 | 7296689 | 100 | - | 350 | 220 | 328250713 | 246717873
k1_7.dat | 220 | 7305629 | 100 | - | 350 | 220 | 331166109.5 | 248669323
srednia |  | 7337568.125 |  |  |  |  | 331057425.0625 | 248457782.75 |  | Co-60
90%_PB
26_32.dat | 220 | 1726545 | 100 | - | 350 | 220 | 91491253 | 68725373
25_31.dat | 220 | 1855948 | 100 | - | 350 | 220 | 96956879 | 72962845
24_30.dat | 220 | 1593458 | 100 | - | 350 | 220 | 84811296.5 | 63952462
23_27.dat | 220 | 1649148 | 100 | - | 350 | 220 | 89337387.5 | 67397018
22_26.dat | 220 | 1829033 | 100 | - | 350 | 220 | 96623842 | 72808302
21_25.dat | 220 | 1616181 | 100 | - | 350 | 220 | 86616152.5 | 65297719
20_24.dat | 220 | 1753095 | 100 | - | 350 | 220 | 93486035.5 | 70406929
19_23.dat | 220 | 1766016 | 100 | - | 350 | 220 | 94426608.5 | 71138151
18_22.dat | 220 | 1581305 | 100 | - | 350 | 220 | 84432505.5 | 63580361
srednia | 220 | 1707858.7778 |  |  |  | 220 | 90836338.375 | 68442973.375
plateau_PB | [8 empty] | 0.27438 | Eff. | 90%_BP
17_21.dat | 220 | 8478969 | 100 | - | 350 | 220 | 380119233 | 285560331
16_20.dat | 220 | 7834883 | 100 | - | 350 | 220 | 358217311.5 | 269296238
15_19.dat | 220 | 8222777 | 100 | - | 350 | 220 | 370282116.5 | 278472771
14_18.dat | 220 | 8122672 | 100 | - | 350 | 220 | 369635762.5 | 277495538
13_15.dat | 220 | 8135037 | 100 | - | 350 | 220 | 363235952 | 272699840
12_14.dat | 220 | 7721255 | 100 | - | 350 | 220 | 343308697 | 258003593
11_13.dat | 220 | 7854233 | 100 | - | 350 | 220 | 354345354.5 | 266241789
10_12.dat | 220 | 7633335 | 100 | - | 350 | 220 | 345308709 | 259919473
9_11.dat | 220 | 7766233 | 100 | - | 350 | 220 | 347840571 | 261286685
srednia | 220 | 7974377.1111 |  |  |  | 220 | 356521809.25 | 267926990.875 | 1.0769 | Eff. | plateau_PB
HTR | ID | GlobalMaxX | GlobalMaxY | Zakres | LocalMaxX | LocalMaxY | Integral | Sum
Kalibracja Co60 |  |  |  | 248-310
k8_36.dat | 220 | 7479685 | 248 | - | 310 | 282 | 30177155 | 22826829
k7_35.dat | 220 | 7543169 | 248 | - | 310 | 284 | 30002096.5 | 22681362
k6_34.dat | 220 | 7679702 | 248 | - | 310 | 284 | 28731787.5 | 21689066
k5_33.dat | 220 | 7412189 | 248 | - | 310 | 284 | 28810710 | 21892324
k4_10.dat | 220 | 7018271 | 248 | - | 310 | 282 | 25889774.5 | 19719935
k3_9.dat | 220 | 7296689 | 248 | - | 310 | 284 | 27389244.5 | 20620744
k2_8.dat | 220 | 7305629 | 248 | - | 310 | 284 | 27087133.5 | 20618579
k1_7.dat | 220 | 6965211 | 248 | - | 310 | 282 | 24460022.5 | 18663428
srednia | 220 | 7337568.125 | 248 |  | 310 |  | 27818490.5 | 21089033.375 | 3.7912 | Ɛ/δ
[11 empty] | Eff. | HTR | metoda par | Energia | LET [keV/um]
90%_PB
26_32.dat | 220 | 1726545 | 248 | - | 310 | 282 | 16956308 | 12939223 |  | 90%_PB | 0.27438 | 2.6304 | 2.7022
25_31.dat | 220 | 1855948 | 248 | - | 310 | 280 | 18160188 | 13663035
24_30.dat | 220 | 1593458 | 248 | - | 310 | 281 | 15694154 | 11793306 |  | plateau_PB | 1.0769 | 1.083 | 1.2688
23_27.dat | 220 | 1649148 | 248 | - | 310 | 281 | 16948651 | 12887564
22_26.dat | 220 | 1829033 | 248 | - | 310 | 280 | 18207695.5 | 13787707
21_25.dat | 220 | 1616181 | 248 | - | 310 | 282 | 16027098 | 12227308
20_24.dat | 220 | 1753095 | 248 | - | 310 | 279 | 17480030.5 | 13245678
19_23.dat | 220 | 1766016 | 248 | - | 310 | 279 | 18036888 | 13624970
18_22.dat | 220 | 1581305 | 248 | - | 310 | 280 | 15775288 | 12007551
srednia |  | 1707858.7778 |  |  |  |  | 17031811.2222 | 12908482.4444 | 9.9726 | Ɛ/δ
plateau_PB
17_21.dat | 220 | 8478969 | 248 | - | 310 | 282 | 35870817 | 27119403
16_20.dat | 220 | 7834883 | 248 | - | 310 | 283 | 33104811.5 | 25209907
15_19.dat | 220 | 8222777 | 248 | - | 310 | 284 | 33582621.5 | 25523341
14_18.dat | 220 | 8122672 | 248 | - | 310 | 283 | 34518265.5 | 25934199
13_15.dat | 220 | 8135037 | 248 | - | 310 | 280 | 32237577.5 | 24445378
12_14.dat | 220 | 7721255 | 248 | - | 310 | 281 | 30190872.5 | 22945329
11_13.dat | 220 | 7854233 | 248 | - | 310 | 279 | 31259863 | 23827762
10_12.dat | 220 | 7633335 | 248 | - | 310 | 283 | 31991648 | 24112652
9_11.dat | 220 | 7766233 | 248 | - | 310 | 283 | 31909972.5 | 24251087
srednia |  | 7974377.1111 |  |  |  |  | 32740716.5556 | 24818784.2222 | 4.1057 | Ɛ/δ

## DCPT_MCP-7
Co-60 | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
1Gy
55_9.dat | 220 | 212058166 | 100 | 240 | 220 | 212058166 | 5548493272.5 | 60359684180
54_8.dat | 220 | 214069314 | 100 | 240 | 220 | 214069314 | 5429246109.5 | 59335120250
53_7.dat | 220 | 223631383 | 100 | 240 | 220 | 223631383 | 5705909358.5 | 62036529300
52_6.dat | 220 | 240037911 | 100 | 240 | 220 | 240037911 | 6086856771.5 | 66323616660
51_5.dat | 220 | 207501302 | 100 | 240 | 220 | 207501302 | 5357656329.5 | 58370378220
50_4.dat | 220 | 226160667 | 100 | 240 | 220 | 226160667 | 5877882529.5 | 64005074360
49_3.dat | 220 | 220110800 | 100 | 240 | 220 | 220110800 | 5608917235.5 | 61098599780
48_2.dat | 220 | 228485132 | 100 | 240 | 220 | 228485132 | 5909567071 | 64186221500
47_1.dat | 220 | 218028033 | 100 | 240 | 220 | 218028033 | 5637698472 | 61497485940
|  | 221120300.8889 |  |  |  | 221120300.8889 | 5684691905.5 | 61912523354.4444
Tło | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
tlo_29_2.dat | 220 | 14148 | 100 | 240 | 220 | 14148 | 415727 | 454520
tlo_32_7.dat | 220 | 14647 | 100 | 240 | 220 | 14647 | 421980.5 | 460730
tlo_31_5.dat | 220 | 15075 | 100 | 240 | 220 | 15075 | 405753.5 | 440718
tlo_30_3.dat | 220 | 14269 | 100 | 240 | 220 | 14269 | 424532.5 | 462319 | Efficiency | 0.45976 | 0.89762 | 0.31261 | 0.82033
|  | 14534.75 |  |  |  | 14534.75 | 416998.375 | 454571.75
2a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
7_16.dat | 220 | 93272023 | 100 | 240 | 220 | 93272023 | 2810286557 | 30648034870
6_15.dat | 220 | 87941181 | 100 | 240 | 220 | 87941181 | 2635030484 | 28831660010
5_14.dat | 220 | 92311611 | 100 | 240 | 220 | 92311611 | 2781792948.5 | 30311606980
4_13.dat | 220 | 86529966 | 100 | 240 | 220 | 86529966 | 2652616475 | 29043033940
3_12.dat | 220 | 72841250 | 100 | 240 | 220 | 72841250 | 2242479464 | 24335521550
2_11.dat | 220 | 84275285 | 100 | 240 | 220 | 84275285 | 2538366024 | 27660451240
1_8.dat | 220 | 88129469 | 100 | 240 | 220 | 88129469 | 2634741840.5 | 28760915300
|  | 86471540.7143 |  |  |  | 86471540.7143 | 2613616256.1429 | 28513031984.2857
1a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
36_10.dat | 220 | 191571973 | 100 | 240 | 220 | 191571973 | 5067684878.5 | 55289278960
14_9.dat | 220 | 175361995 | 100 | 240 | 220 | 175361995 | 4910021899 | 53466771240
13_8.dat | 220 | 186623997 | 100 | 240 | 220 | 186623997 | 5220916244 | 56732393710
12_7.dat | 220 | 164524062 | 100 | 240 | 220 | 164524062 | 4692916889.5 | 51125732440
11_4.dat | 220 | 185331758 | 100 | 240 | 220 | 185331758 | 4995380468.5 | 54386754790
10_3.dat | 220 | 194686949 | 100 | 240 | 220 | 194686949 | 5353240183.5 | 58300540710
9_2.dat | 220 | 186888182 | 100 | 240 | 220 | 186888182 | 5185403000.5 | 56342509090
8_1.dat | 220 | 193728480 | 100 | 240 | 220 | 193728480 | 5395919477.5 | 59101121530
|  | 184839674.5 |  |  |  | 184839674.5 | 5102685380.125 | 55593137808.75
1b | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
21_9.dat | 220 | 59987915 | 100 | 240 | 220 | 59987915 | 1831581941.5 | 19982602320
20_6.dat | 220 | 60639222 | 100 | 240 | 220 | 60639222 | 1880631529.5 | 20438288040
19_5.dat | 222 | 59326437 | 100 | 240 | 222 | 59326437 | 1833332201.5 | 20034297950
18_4.dat | 220 | 53921704 | 100 | 240 | 220 | 53921704 | 1762994095 | 19184485180
17_3.dat | 220 | 55701430 | 100 | 240 | 220 | 55701430 | 1756849246 | 19164430850
16_2.dat | 220 | 56655701 | 100 | 240 | 220 | 56655701 | 1660490868 | 18188757620
15_1.dat | 220 | 54220833 | 100 | 240 | 220 | 54220833 | 1713770490 | 18716649620
|  | 57207606 |  |  |  | 57207606 | 1777092910.2143 | 19387073082.8571
1c | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
37_8.dat | 220 | 171229060 | 100 | 240 | 220 | 171229060 | 4559506393 | 49978403350
28_7.dat | 220 | 183490463 | 100 | 240 | 220 | 183490463 | 4883196856.5 | 53374921340
27_6.dat | 220 | 171614253 | 100 | 240 | 220 | 171614253 | 4952147053 | 53943276810
26_5.dat | 220 | 158195686 | 100 | 240 | 220 | 158195686 | 4524027461 | 49462503340
25_4.dat | 220 | 150568935 | 100 | 240 | 220 | 150568935 | 4348211656 | 47609647180
24_3.dat | 220 | 151478269 | 100 | 240 | 220 | 151478269 | 4382855896.5 | 47752056850
23_2.dat | 220 | 171327448 | 100 | 240 | 220 | 171327448 | 4907508251.5 | 53312573380
22_1.dat | 220 | 175691737 | 100 | 240 | 220 | 175691737 | 4749357163.5 | 51763670860
|  | 166699481.375 |  |  |  | 166699481.375 | 4663351341.375 | 50899631638.75

## DCPT_MTS-7
Co-60 | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
1Gy
55_11.dat | 220 | 6606756 | 100 | 350 | 220 | 6606756 | 295872435 | 222036971
54_10.dat | 220 | 6634969 | 100 | 350 | 220 | 6634969 | 297636309 | 223589142
53_9.dat | 220 | 6666196 | 100 | 350 | 220 | 6666196 | 307029416 | 230484381
52_6.dat | 220 | 5754163 | 100 | 350 | 220 | 5754163 | 260428477 | 195600209
51_5.dat | 220 | 7020480 | 100 | 350 | 220 | 7020480 | 318253577.5 | 238570188
50_4.dat | 220 | 6807174 | 100 | 350 | 220 | 6807174 | 308696440 | 231810885
49_3.dat | 220 | 7161607 | 100 | 350 | 220 | 7161607 | 328150377 | 246179464
48_2.dat | 220 | 6501131 | 100 | 350 | 220 | 6501131 | 295528598.5 | 222032205
47_1.dat | 220 | 6637420 | 100 | 350 | 220 | 6637420 | 300399676 | 224849856
|  | 6643321.7778 |  |  |  | 6643321.7778 | 301332811.7778 | 226128144.5556
Tło | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
32_4.dat | 350 | 13749 | 100 | 350 | 350 | 13749 | 412026 | 473517
31_3.dat | 350 | 18182 | 100 | 350 | 350 | 18182 | 488233.5 | 578961
30_2.dat | 350 | 15510 | 100 | 350 | 350 | 15510 | 508625 | 564799
29_1.dat | 350 | 23861 | 100 | 350 | 350 | 23861 | 662927.5 | 784184
|  | 17825.5 |  |  |  | 17825.5 | 517953 | 600365.25 |  |  |  | Eff_MTS | 1.0369 |  | 1.1128 |  | 0.78302 |  | 1.104
2a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum |  |  |  | Eff_MCP | 0.45976 |  | 0.89762 |  | 0.31261 |  | 0.82033
36_10.dat | 220 | 6157784 | 100 | 350 | 220 | 6157784 | 292854467.5 | 220306327
7_6.dat | 220 | 7248988 | 100 | 350 | 220 | 7248988 | 329711248.5 | 247358961 |  |  |  | HTR | 1.3751 |  | 0.92668 |  | 1.4675 |  | 1.0712
6_5.dat | 220 | 6928417 | 100 | 350 | 220 | 6928417 | 329996285.5 | 247829415
5_4.dat | 220 | 6649683 | 100 | 350 | 220 | 6649683 | 319885059.5 | 239880809 |  |  |  | Met. Par | 2.2553 |  | 1.2398 |  | 2.5048 |  | 1.3458
4_3.dat | 220 | 6324081 | 100 | 350 | 220 | 6324081 | 302046441 | 226830788
3_2.dat | 220 | 6432709 | 100 | 350 | 220 | 6432709 | 313868579.5 | 235488112 |  |  |  | E[MeV] | 160
2_1.dat | 220 | 6540880 | 100 | 350 | 220 | 6540880 | 314721691.5 | 236181787
1_7.dat | 220 | 6252766 | 100 | 350 | 220 | 6252766 | 296500807.5 | 222448484 |  |  |  | LET [keV/um]
|  | 6566913.5 |  |  |  | 6566913.5 | 312448072.5625 | 234540585.375
1a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
14_7.dat | 220 | 7526447 | 100 | 350 | 220 | 7526447 | 353236381 | 265101073
13_6.dat | 220 | 7434035 | 100 | 350 | 220 | 7434035 | 342509448.5 | 257328053
12_5.dat | 220 | 7037018 | 100 | 350 | 220 | 7037018 | 323442817.5 | 241878667
11_4.dat | 220 | 7296752 | 100 | 350 | 220 | 7296752 | 335824335.5 | 252250280
10_3.dat | 220 | 6965687 | 100 | 350 | 220 | 6965687 | 323912576 | 242997402
9_2.dat | 220 | 7106259 | 100 | 350 | 220 | 7106259 | 327132882.5 | 245373591
8_1.dat | 220 | 7203480 | 100 | 350 | 220 | 7203480 | 341264606 | 256423926
|  | 7224239.7143 |  |  |  | 7224239.7143 | 335331863.8571 | 251621856 |  |  | Porównanie kalibrajcji
1b | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
37_10.dat | 220 | 4543006 | 100 | 350 | 220 | 4543006 | 223664674 | 167924947 |  |  | Curve_ID | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
21_9.dat | 220 | 4674022 | 100 | 350 | 220 | 4674022 | 227878865.5 | 171390474 |  | new | 47_1.dat | 220 | 6637420 | 100 | 350 | 220 | 6637420 | 300399676 | 224849856
20_8.dat | 220 | 4986722 | 100 | 350 | 220 | 4986722 | 243766839.5 | 183313737 |  | old | k1_7.dat | 220 | 6965211 | 100 | 350 | 220 | 6965211 | 313157649.5 | 234909462
19_7.dat | 220 | 4521613 | 100 | 350 | 220 | 4521613 | 225424234.5 | 169136427
18_6.dat | 220 | 4959009 | 100 | 350 | 220 | 4959009 | 234150743 | 176105333
17_5.dat | 220 | 5132322 | 100 | 350 | 220 | 5132322 | 252233333.5 | 189518050
16_2.dat | 220 | 4870361 | 100 | 350 | 220 | 4870361 | 237202485 | 178442161
15_1.dat | 220 | 5087458 | 100 | 350 | 220 | 5087458 | 243270429 | 182895946
|  | 4846814.125 |  |  |  | 4846814.125 | 235948950.5 | 177340884.375
1c | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
28_9.dat | 220 | 7089607 | 100 | 350 | 220 | 7089607 | 324560718 | 243871972
27_8.dat | 220 | 6739925 | 100 | 350 | 220 | 6739925 | 307783243 | 231303377
26_7.dat | 220 | 7194268 | 100 | 350 | 220 | 7194268 | 333837392.5 | 250865835
25_4.dat | 220 | 7333829 | 100 | 350 | 220 | 7333829 | 343976512 | 258339824
24_3.dat | 220 | 6922680 | 100 | 350 | 220 | 6922680 | 332803492 | 249699224
23_2.dat | 220 | 7303082 | 100 | 350 | 220 | 7303082 | 339302411.5 | 255291571
22_1.dat | 220 | 7473105 | 100 | 350 | 220 | 7473105 | 346523958 | 260330316
|  | 7150928 |  |  |  | 7150928 | 332683961 | 249957445.5714
Analiza_HTR
Co_60
1Gy | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
55_11.dat | 220 | 6606756 | 248 | 310 | 282 | 658710 | 24840813.5 | 18817876
54_10.dat | 220 | 6634969 | 248 | 310 | 284 | 652304 | 25704235 | 19306492
53_9.dat | 220 | 6666196 | 248 | 310 | 284 | 671569 | 27037808 | 20493824
52_6.dat | 220 | 5754163 | 248 | 310 | 282 | 543041 | 22060039 | 16676654
51_5.dat | 220 | 7020480 | 248 | 310 | 283 | 668118 | 26553687 | 20023662
50_4.dat | 220 | 6807174 | 248 | 310 | 284 | 661459 | 26189251 | 19779052
49_3.dat | 220 | 7161607 | 248 | 310 | 284 | 732506 | 28594213.5 | 21537878
48_2.dat | 220 | 6501131 | 248 | 310 | 285 | 640397 | 25585407.5 | 19215087
47_1.dat | 220 | 6637420 | 248 | 310 | 284 | 639606 | 25623859 | 19528595
|  | 6643321.7778 |  |  |  | 651967.7778 | 25798812.6111 | 19486568.8889 | Ɛ/δ | 3.8834
2a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
36_10.dat | 220 | 6157784 | 248 | 310 | 282 | 857307 | 36206314 | 27605106
7_6.dat | 220 | 7248988 | 248 | 310 | 278 | 886670 | 36485719.5 | 27737406
6_5.dat | 220 | 6928417 | 248 | 310 | 281 | 852554 | 36098897.5 | 27127605
5_4.dat | 220 | 6649683 | 248 | 310 | 280 | 871211 | 36116877.5 | 27564133
4_3.dat | 220 | 6324081 | 248 | 310 | 280 | 773892 | 33446291 | 25329229
3_2.dat | 220 | 6432709 | 248 | 310 | 281 | 811580 | 34368595.5 | 26080736
2_1.dat | 220 | 6540880 | 248 | 310 | 281 | 829897 | 35217633.5 | 26437113
1_7.dat | 220 | 6252766 | 248 | 310 | 278 | 793893 | 32608611 | 24718308
|  | 6566913.5 |  |  |  | 834625.5 | 35068617.4375 | 26574954.5 | Ɛ/δ | 5.3402
1a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
14_7.dat | 220 | 7526447 | 248 | 310 | 284 | 687615 | 27921417.5 | 21231150
13_6.dat | 220 | 7434035 | 248 | 310 | 281 | 662111 | 26662270 | 20128136
12_5.dat | 220 | 7037018 | 248 | 310 | 282 | 616132 | 25003641.5 | 19084279
11_4.dat | 220 | 7296752 | 248 | 310 | 281 | 647272 | 25922602.5 | 19641942
10_3.dat | 220 | 6965687 | 248 | 310 | 285 | 621399 | 24793054 | 18930119
9_2.dat | 220 | 7106259 | 248 | 310 | 283 | 630876 | 24667129.5 | 18770692
8_1.dat | 220 | 7203480 | 248 | 310 | 283 | 663230 | 27014371 | 20544113
|  | 7224239.7143 |  |  |  | 646947.8571 | 25997783.7143 | 19761490.1429 | Ɛ/δ | 3.5987
1b | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
37_10.dat | 220 | 4543006 | 248 | 310 | 280 | 692547 | 29525736 | 22272072
21_9.dat | 220 | 4674022 | 248 | 310 | 280 | 625962 | 25809191 | 19577015
20_8.dat | 220 | 4986722 | 248 | 310 | 280 | 654720 | 28050642.5 | 21137686
19_7.dat | 220 | 4521613 | 248 | 310 | 282 | 607819 | 25855327 | 19582773
18_6.dat | 220 | 4959009 | 248 | 310 | 278 | 633227 | 26774324 | 20086548
17_5.dat | 220 | 5132322 | 248 | 310 | 280 | 698065 | 29199395 | 22081156
16_2.dat | 220 | 4870361 | 248 | 310 | 281 | 631178 | 27590752.5 | 20895865
15_1.dat | 220 | 5087458 | 248 | 310 | 280 | 656372 | 28174217 | 21279151
|  | 4846814.125 |  |  |  | 649986.25 | 27622448.125 | 20864033.25 | δ | 5.6991
1c | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
28_9.dat | 220 | 7089607 | 248 | 310 | 283 | 789500 | 31351572 | 23881308
27_8.dat | 220 | 6739925 | 248 | 310 | 284 | 754857 | 30328900.5 | 22870761
26_7.dat | 220 | 7194268 | 248 | 310 | 284 | 702506 | 28839283.5 | 21776989
25_4.dat | 220 | 7333829 | 248 | 310 | 284 | 739124 | 29745992 | 22487586
24_3.dat | 220 | 6922680 | 248 | 310 | 284 | 691397 | 28283386 | 21457447
23_2.dat | 220 | 7303082 | 248 | 310 | 282 | 762577 | 29622959.5 | 22559511
22_1.dat | 220 | 7473105 | 248 | 310 | 283 | 748657 | 30065319 | 22906397
|  | 7150928 |  |  |  | 741231.1429 | 29748201.7857 | 22562857 | δ | 4.16

## small_mts
Room | Date | Time start | Institute | Detector | Set-up | Dose (in the middle of SPBP or at 2 cm)[Gy] | Delivered dose [Gy] | Setup | Plan | Top plate ID | Detector plate ID | Holder plate thickness [cm] | Top plate thickness [cm] | Actual table vrt | Comment | HTR | Pairs | LET [keV/um] | Setup
TR2 | 2022-12-09 | 16:39 | IFJ PAN | MTS/MCP (small TLD) | pellets + holder | 1 | 1.009 | 2a | 2_mono_1Gy | NRPI_TLD_3 | FRONT IFJ-TLD2 | 0.15 | 0.25 | -10.1 | 1a was written on the plate and the irradiation was 2a | 1.0322 | 1.0604 | 0.2 | 2a
TR2 | 2022-12-09 |  | IFJ PAN | MTS/MCP (small TLD) | pellets + holder | 1 | 0.995 | 1a | 1_SOBP_1Gy | NRPI_TLD_3 | FRONT IFJ-TLD2 | 0.15 | 0.25 |  | It was written on the plate 2a, but then it was corrected to 1a | 1.1301 | 1.2471 | 0.6 | 1a
TR2 | 2022-12-09 | 18:19 | IFJ PAN | MTS/MCP (small TLD) | pellets + holder | 1 | 0.97 | 1b | 1_SOBP_1Gy | NRPI_TLD_3 | FRONT IFJ-TLD2 | 0.15 | 0.25 | -10.3 | additional after previous plan irradiated with 2Gy | 1.4643 | 1.7635 | 2.14 | 1b
TR2 | 2023-02-06 | 17:00 | IFJ PAN | MTS/MCP (small TLD) | pellets + holder | 1 | 0.779 | 1c | 1_SOBP_1Gy | NRPI_TLD_3 | FRONT IFJ-TLD4 | 0.15 | 0.25 | -10,35 |  | 1.4972 | 1.8299 | 2.2 | 1c
MTS 3.2x0.3mm
Co_60 _1Gy | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum |  |  |  |  | Co_60 _1Gy | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
k51_6.dat | 220 | 1716129 | 248 | 310 | 282 | 164469 | 7278684.5 | 5476830 |  |  |  |  | k49_4.dat | 220 | 1633126 | 100 | 240 | 220 | 1633126 | 65069282.5 | 49064106
k49_4.dat | 220 | 1633126 | 248 | 310 | 282 | 159148 | 6990570.5 | 5269097 |  |  |  |  | k56_15.dat | 220 | 1645171 | 100 | 240 | 220 | 1645171 | 65040815 | 49000487 |  | #NAME?
k56_15.dat | 220 | 1645171 | 248 | 310 | 280 | 147191 | 6485800.5 | 4888875 |  |  |  |  | k55_12.dat | 220 | 1669364 | 100 | 240 | 220 | 1669364 | 66545042 | 49770965
k55_12.dat | 220 | 1669364 | 248 | 310 | 279 | 151649 | 6583884.5 | 5010391 |  |  |  |  | k54_9.dat | 220 | 1623749 | 100 | 240 | 220 | 1623749 | 64150063 | 48206038 |  | 6.156
k54_9.dat | 220 | 1623749 | 248 | 310 | 280 | 160472 | 7023620.5 | 5352468 |  |  |  |  | k53_8.dat | 220 | 1602079 | 100 | 240 | 220 | 1602079 | 63204067.5 | 47363723
k53_8.dat | 220 | 1602079 | 248 | 310 | 280 | 157609 | 6765961 | 5146466 |  |  |  |  | k52_7.dat | 220 | 1681911 | 100 | 240 | 220 | 1681911 | 64853507 | 48842900
k52_7.dat | 220 | 1681911 | 248 | 310 | 282 | 159693 | 7009723.5 | 5338419 |  |  |  |  | k51_6.dat | 220 | 1716129 | 100 | 240 | 220 | 1716129 | 65313415 | 49139632
k50_5.dat | 220 | 1744925 | 248 | 310 | 280 | 169157 | 7337504 | 5559259 |  |  |  |  | k50_5.dat | 220 | 1744925 | 100 | 240 | 220 | 1744925 | 68089866.5 | 51220158
|  | 1664556.75 |  |  |  | 158673.5 | 6934468.625 | 5255225.625 | Ɛ/δ(Y) | 4.166 |  |  |  |  | 1664556.75 |  |  |  | 1664556.75 | 65283257.3125 | 49076001.125
2a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum |  |  |  |  | 2a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
2a16_23.dat | 220 | 1719987 | 248 | 310 | 279 | 172980 | 7529258.5 | 5725265 |  |  |  |  | 2a9_16.dat | 220 | 1656145 | 100 | 240 | 220 | 1656145 | 66237712 | 49739078
2a15_22.dat | 220 | 1681621 | 248 | 310 | 281 | 156289 | 6955501 | 5303610 |  |  |  |  | 2a16_23.dat | 220 | 1719987 | 100 | 240 | 220 | 1719987 | 67996944.5 | 51090347
2a14_21.dat | 220 | 1669638 | 248 | 310 | 277 | 170278 | 7383843.5 | 5623487 |  |  |  |  | 2a15_22.dat | 220 | 1681621 | 100 | 240 | 220 | 1681621 | 67542217.5 | 50660920
2a13_20.dat | 220 | 1750987 | 248 | 310 | 280 | 171266 | 7468410.5 | 5640925 |  |  |  |  | 2a14_21.dat | 220 | 1669638 | 100 | 240 | 220 | 1669638 | 66744894 | 50055109
2a12_19.dat | 220 | 1607357 | 248 | 310 | 281 | 155344 | 6657639.5 | 5072691 |  |  |  |  | 2a13_20.dat | 220 | 1750987 | 100 | 240 | 220 | 1750987 | 68501866.5 | 51577495
2a11_18.dat | 220 | 1735307 | 248 | 310 | 278 | 168979 | 7442281 | 5669805 |  |  |  |  | 2a12_19.dat | 220 | 1607357 | 100 | 240 | 220 | 1607357 | 62773296 | 47142840
2a10_17.dat | 220 | 1766319 | 248 | 310 | 279 | 180618 | 7998260.5 | 6039980 |  |  |  |  | 2a11_18.dat | 220 | 1735307 | 100 | 240 | 220 | 1735307 | 68454971 | 51411840
2a9_16.dat | 220 | 1656145 | 248 | 310 | 278 | 162951 | 6990045 | 5311137 |  |  | Eff. |  | 2a10_17.dat | 220 | 1766319 | 100 | 240 | 220 | 1766319 | 70060965.5 | 52589594 | Eff.MTS | Eff.MCP
|  | 1698420.125 |  |  |  | 167338.125 | 7303154.9375 | 5548362.5 | Ɛ/δ(p) | 4.3 | 1.0203 |  |  |  | 1698420.125 |  |  |  | 1698420.125 | 67289108.375 | 50533402.875 | 1.0307 | 0.97203
1a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum |  |  |  |  | 1a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
1a1_24.dat | 220 | 1829643 | 248 | 310 | 280 | 190222 | 8452710.5 | 6365601 |  |  |  |  | 1a1_24.dat | 220 | 1829643 | 100 | 240 | 220 | 1829643 | 71761446 | 53976267
1a8_33.dat | 220 | 1803354 | 248 | 310 | 280 | 197241 | 8811445.5 | 6647464 |  |  |  |  | 1a8_33.dat | 220 | 1803354 | 100 | 240 | 220 | 1803354 | 71362431.5 | 53687484
1a7_32.dat | 220 | 1816207 | 248 | 310 | 278 | 187174 | 8358928.5 | 6296179 |  |  |  |  | 1a7_32.dat | 220 | 1816207 | 100 | 240 | 220 | 1816207 | 70801537.5 | 53188918
1a6_31.dat | 220 | 1728899 | 248 | 310 | 281 | 188601 | 8262925 | 6295711 |  |  |  |  | 1a6_31.dat | 220 | 1728899 | 100 | 240 | 220 | 1728899 | 67210467 | 50504707
1a5_30.dat | 220 | 1728962 | 248 | 310 | 281 | 185942 | 8223798 | 6205928 |  |  |  |  | 1a5_30.dat | 220 | 1728962 | 100 | 240 | 220 | 1728962 | 68678426.5 | 51534003
1a4_29.dat | 220 | 1778545 | 248 | 310 | 280 | 190450 | 8109593 | 6163024 |  |  |  |  | 1a4_29.dat | 220 | 1778545 | 100 | 240 | 218 | 1778545 | 69128343 | 51889443
1a3_28.dat | 220 | 1708178 | 248 | 310 | 280 | 181522 | 8131332.5 | 6128569 |  |  |  |  | 1a3_28.dat | 220 | 1708178 | 100 | 240 | 220 | 1708178 | 67416362 | 50725933
|  | 1770541.1429 |  |  |  | 188736 | 8335819 | 6300353.7143 | Ɛ/δ(p) | 4.7081 | 1.0637 |  |  |  | 1770541.1429 |  |  |  | 1770541.1429 | 69479859.0714 | 52215250.7143 | 1.0643 | 0.85339
1b (2Gy) | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
12b24_43.dat | 220 | 3164156 | 248 | 310 | 280 | 560272 | 25042112.5 | 19053424
12b23_42.dat | 220 | 3353631 | 248 | 310 | 280 | 576423 | 26190047.5 | 19744130
12b22_41.dat | 220 | 3135288 | 248 | 310 | 281 | 553550 | 24927949 | 18923125
12b21_40.dat | 220 | 3194828 | 248 | 310 | 283 | 563813 | 25625066.5 | 19343575
12b20_39.dat | 220 | 3354739 | 248 | 310 | 281 | 577482 | 25949681 | 19766971
12b19_36.dat | 220 | 3218352 | 248 | 310 | 280 | 550144 | 24595666 | 18732912
12b18_35.dat | 220 | 3219712 | 248 | 310 | 282 | 559146 | 25253904 | 19268500
12b17_34.dat | 220 | 3321759 | 248 | 310 | 280 | 576443 | 25940460.5 | 19778281
|  | 3245308.125 |  |  |  | 564659.125 | 25440610.875 | 19326364.75
1b (1Gy) | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum |  |  |  |  | 1b (1Gy) | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
11b48_52.dat | 220 | 1427694 | 248 | 310 | 280 | 196945 | 8838873 | 6732665 |  |  |  |  | 11b41_44.dat | 220 | 1590896 | 100 | 240 | 220 | 1590896 | 62345656 | 46774488
11b47_51.dat | 220 | 1656820 | 248 | 310 | 280 | 218208 | 9840708.5 | 7473014 |  |  |  |  | 11b48_52.dat | 220 | 1427694 | 100 | 240 | 220 | 1427694 | 55983279.5 | 42096420
11b46_48.dat | 220 | 1614251 | 248 | 310 | 279 | 215111 | 9599566.5 | 7328163 |  |  |  |  | 11b47_51.dat | 220 | 1656820 | 100 | 240 | 220 | 1656820 | 65158860 | 49029223
11b45_47.dat | 220 | 1674974 | 248 | 310 | 278 | 229398 | 10037961.5 | 7649660 |  |  |  |  | 11b46_48.dat | 220 | 1614251 | 100 | 240 | 220 | 1614251 | 64243056 | 48307221
11b44_53.dat | 220 | 1496776 | 248 | 310 | 280 | 206012 | 9234909.5 | 7037218 |  |  |  |  | 11b45_47.dat | 220 | 1674974 | 100 | 240 | 220 | 1674974 | 65689472.5 | 49282256
11b43_46.dat | 220 | 1611411 | 248 | 310 | 280 | 221075 | 10082954.5 | 7622146 |  |  |  |  | 11b44_53.dat | 220 | 1496776 | 100 | 240 | 220 | 1496776 | 60690373 | 45717054
11b42_45.dat | 220 | 1649268 | 248 | 310 | 280 | 230513 | 10282784 | 7768554 |  |  |  |  | 11b43_46.dat | 220 | 1611411 | 100 | 240 | 220 | 1611411 | 63434404 | 47651580
11b41_44.dat | 220 | 1590896 | 248 | 310 | 280 | 223442 | 9691718.5 | 7368615 |  |  |  |  | 11b42_45.dat | 220 | 1649268 | 100 | 240 | 220 | 1649268 | 64631961.5 | 48602632
|  | 1590261.25 |  |  |  | 217588 | 9701184.5 | 7372504.375 | Ɛ/δ(p) | 6.1004 | 0.95537 |  |  |  | 1590261.25 |  |  |  | 1590261.25 | 62772132.8125 | 47182609.25 | 0.96153 | 0.54525
1c | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum |  |  |  |  | 1c | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
1c32_63.dat | 220 | 1277350 | 248 | 310 | 280 | 174458 | 8086539 | 6120632 |  |  |  |  | 1c32_63.dat | 220 | 1277350 | 100 | 240 | 220 | 1277350 | 49084870.5 | 36915909
1c31_60.dat | 220 | 1298222 | 248 | 310 | 278 | 174881 | 8147658 | 6143091 |  |  |  |  | 1c31_60.dat | 220 | 1298222 | 100 | 240 | 220 | 1298222 | 49581136 | 37366058
1c30_59.dat | 220 | 1278388 | 248 | 310 | 278 | 171978 | 8067565.5 | 6141851 |  |  |  |  | 1c30_59.dat | 220 | 1278388 | 100 | 240 | 220 | 1278388 | 49531175 | 37161510
1c29_58.dat | 220 | 1259859 | 248 | 310 | 279 | 168657 | 7777221 | 5912079 |  |  |  |  | 1c29_58.dat | 220 | 1259859 | 100 | 240 | 220 | 1259859 | 48587863 | 36506883
1c28_57.dat | 220 | 1233026 | 248 | 310 | 278 | 164465 | 7718438.5 | 5819595 |  |  |  |  | 1c28_57.dat | 220 | 1233026 | 100 | 240 | 220 | 1233026 | 47167339 | 35507173
1c27_56.dat | 220 | 1251398 | 248 | 310 | 279 | 166400 | 7717637 | 5812957 |  |  |  |  | 1c27_56.dat | 220 | 1251398 | 100 | 240 | 220 | 1251398 | 48134805.5 | 36274917
1c26_55.dat | 220 | 1230529 | 248 | 310 | 280 | 165828 | 7629997 | 5776704 |  |  |  |  | 1c26_55.dat | 220 | 1230529 | 100 | 240 | 220 | 1230529 | 47316639.5 | 35498797
1c25_54.dat | 220 | 1278356 | 248 | 310 | 280 | 172598 | 7895030.5 | 6022297 |  |  |  |  | 1c25_54.dat | 220 | 1278356 | 100 | 240 | 220 | 1278356 | 48803537.5 | 36688310
|  | 1263391 |  |  |  | 169908.125 | 7880010.8125 | 5968650.75 | Ɛ/δ(p) | 6.2372 | 0.759 |  |  |  | 1263391 |  |  |  | 1263391 | 48525920.75 | 36489944.625 | 0.74331 | 0.40621

## small_mcp
Co_60 _1Gy | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum | Eff.
k49_3.dat | 220 | 48043872 | 100 | 240 | 220 | 48043872 | 1172863330.5 | 12762836580
k56_10.dat | 220 | 41226499 | 100 | 240 | 220 | 41226499 | 1019210067 | 11162618300
k55_9.dat | 220 | 45408388 | 100 | 240 | 220 | 45408388 | 1121494540 | 12107915430
k54_8.dat | 220 | 42641694 | 100 | 240 | 220 | 42641694 | 1054091535 | 11526980160
k53_7.dat | 220 | 45545713 | 100 | 240 | 220 | 45545713 | 1116893872 | 12106559850
k52_6.dat | 220 | 45809418 | 100 | 240 | 220 | 45809418 | 1134993316.5 | 12348315180
k51_5.dat | 220 | 46356470 | 100 | 240 | 220 | 46356470 | 1125043524.5 | 12229627280
k50_4.dat | 220 | 44543909 | 100 | 240 | 220 | 44543909 | 1112272365 | 12059848430
|  | 44946995.375 |  |  |  | 44946995.375 | 1107107818.8125 | 12038087651.25
2a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
2a9_11.dat | 220 | 41238362 | 100 | 240 | 220 | 41238362 | 1018292968.5 | 11078318130
2a16_20.dat | 220 | 45999966 | 100 | 240 | 220 | 45999966 | 1123204044.5 | 12131687340
2a15_19.dat | 220 | 44122206 | 100 | 240 | 220 | 44122206 | 1083053367 | 11767758390
2a14_18.dat | 220 | 41654388 | 100 | 240 | 220 | 41654388 | 1037436344 | 11244381770
2a13_17.dat | 220 | 42956981 | 100 | 240 | 220 | 42956981 | 1068921988.5 | 11541111340
2a12_16.dat | 220 | 45701149 | 100 | 240 | 220 | 45701149 | 1110218231 | 12079894470
2a11_15.dat | 220 | 47423724 | 100 | 240 | 220 | 47423724 | 1145912404 | 12460816840
2a10_12.dat | 220 | 42258489 | 100 | 240 | 220 | 42258489 | 1022135425.5 | 11108001190
|  | 43919408.125 |  |  |  | 43919408.125 | 1076146846.625 | 11676496183.75 | 0.97203
1a | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
1a8_30.dat | 220 | 37347143 | 100 | 240 | 220 | 37347143 | 906699729 | 983297375
1a7_29.dat | 220 | 38409967 | 100 | 240 | 220 | 38409967 | 945938402.5 | 10288615190
1a6_28.dat | 220 | 37073072 | 100 | 240 | 220 | 37073072 | 921226434.5 | 998353311
1a5_27.dat | 220 | 40177472 | 100 | 240 | 220 | 40177472 | 970666933.5 | 10500033070
1a4_26.dat | 220 | 39739257 | 100 | 240 | 220 | 39739257 | 970124086.5 | 10579256300
1a3_25.dat | 220 | 39311395 | 100 | 240 | 220 | 39311395 | 963561397.5 | 10463860590
1a2_24.dat | 220 | 37384381 | 100 | 240 | 220 | 37384381 | 910825974.5 | 993392159
1a1_22.dat | 220 | 39917569 | 100 | 240 | 220 | 39917569 | 969326933 | 10548384630
|  | 38670032 |  |  |  | 38670032 | 944796236.375 | 6919399078.125 | 0.85339
1b (1Gy) | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
11b41_39.dat | 220 | 23441306 | 100 | 240 | 220 | 23441306 | 581053937.5 | 634295847
11b48_48.dat | 220 | 24391643 | 100 | 240 | 220 | 24391643 | 613217751 | 666988025
11b47_47.dat | 220 | 23922206 | 100 | 240 | 220 | 23922206 | 601488552.5 | 654670984
11b46_44.dat | 220 | 24883583 | 100 | 240 | 220 | 24883583 | 622924539 | 678042489
11b45_43.dat | 220 | 25071389 | 100 | 240 | 220 | 25071389 | 630897251.5 | 684318651
11b44_42.dat | 220 | 24107165 | 100 | 240 | 220 | 24107165 | 607338868.5 | 659167959
11b43_41.dat | 220 | 23349524 | 100 | 240 | 220 | 23349524 | 584840842.5 | 635017503
11b42_40.dat | 220 | 23294277 | 100 | 240 | 220 | 23294277 | 587410414 | 636393280
|  | 24057636.625 |  |  |  | 24057636.625 | 603646519.5625 | 656111842.25 | 0.54525
1c | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum
1c25_49.dat | 220 | 17650206 | 100 | 240 | 220 | 17650206 | 454211991.5 | 493244381
1c32_56.dat | 220 | 16783900 | 100 | 240 | 220 | 16783900 | 432277341 | 472320402
1c31_55.dat | 220 | 17536742 | 100 | 240 | 220 | 17536742 | 462305891.5 | 501574739
1c30_54.dat | 220 | 17110688 | 100 | 240 | 220 | 17110688 | 450470961.5 | 491009458
1c29_53.dat | 220 | 16744333 | 100 | 240 | 220 | 16744333 | 444453905 | 480672988
1c28_52.dat | 220 | 17455333 | 100 | 240 | 220 | 17455333 | 455655634.5 | 496567902
1c27_51.dat | 220 | 17387366 | 100 | 240 | 220 | 17387366 | 462173689.5 | 500900582
1c26_50.dat | 220 | 16811590 | 100 | 240 | 220 | 16811590 | 436237940.5 | 474933319
|  | 17185019.75 |  |  |  | 17185019.75 | 449723419.375 | 488902971.375 | 0.40621

## 10.10.23_mts
Co_60_1Gy | ID | GlobalMaxX | GlobalMaxY | LocalMaxX | LocalMaxY | Counts(Sum) | Integral | Counts(Sum) |  | Protony | ID | GlobalMaxX | GlobalMaxY | LocalMaxX | LocalMaxY |  | Integral | Counts(Sum) | Eff | E[MeV] | Koło [kroki] | HTR | dawka [Gy] | Protony | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum | Ɛ/δ(protons) | Co_60 | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum | Ɛ/δ(gamma)
IRF
70_78.dat | 220 | 1989979 | 100 | 240 | 220 | 1989979 | 86194945.5 | 60944457 | 0.96253 | 70b_84.dat | 220 | 2064810 | 100 | 240 | 220 | 2064810 | 85796981 | 60444260 | 0.99538 | det. odwrócone |  | 1.9667 |  | 70b_84.dat | 220 | 2064810 | 248 | 310 | 278 | 320467 | 14980197.5 | 10739199 | 7.255 | 70_78.dat | 220 | 1989979 | 248 | 310 | 276 | 159985 | 7340815.5 | 5258434 | 3.6889
69_77.dat | 220 | 1942963 | 100 | 240 | 220 | 1942963 | 82952002 | 58527172 | 0.93979 | 69b_83.dat | 220 | 1978415 | 100 | 240 | 220 | 1978415 | 81610396 | 57796963 | 0.98383 | det. odwrócone |  | 1.9662 |  | 69b_83.dat | 220 | 1978415 | 248 | 310 | 278 | 311329 | 14684192 | 10478193 | 7.4222 | 69_77.dat | 220 | 1942963 | 248 | 310 | 280 | 161923 | 7334337 | 5258691 | 3.7748
68_76.dat | 220 | 1964171 | 100 | 240 | 220 | 1964171 | 83688043 | 59030868 | 0.95005 | 68b_82.dat | 220 | 1979733 | 100 | 240 | 220 | 1979733 | 80933306.5 | 57490606 | 0.96708 | det. odwrócone |  | 1.9559 |  | 68b_82.dat | 220 | 1979733 | 248 | 310 | 281 | 313565 | 14576758.5 | 10398656 | 7.363 | 68_76.dat | 220 | 1964171 | 248 | 310 | 279 | 163942 | 7394267.5 | 5297097 | 3.7646
67_75.dat | 220 | 1919291 | 100 | 240 | 220 | 1919291 | 80914325 | 57202457 | 0.92834 | 67b_81.dat | 220 | 1918971 | 100 | 240 | 220 | 1918971 | 80129301 | 56696919 | 0.9903 | det. odwrócone |  | 2.0117 |  | 67b_81.dat | 220 | 1918971 | 248 | 310 | 280 | 307227 | 14332154.5 | 10283302 | 7.4687 | 67_75.dat | 220 | 1919291 | 248 | 310 | 279 | 157456 | 7125667.5 | 5075923 | 3.7127
[8 empty] | 58926238.5 | [11 empty] | 4.92 | 6895 | 1.975 | [10 empty] | 7.3772 | [9 empty] | 3.7352
66_74.dat | 220 | 1988746 | 100 | 240 | 220 | 1988746 | 82567018 | 58363238 | 0.96193 | 66_77.dat | 220 | 2022599 | 100 | 240 | 220 | 2022599 | 83243857.5 | 58751507 | 0.99822 |  |  | 1.9817 |  | 66_77.dat | 220 | 2022599 | 248 | 310 | 278 | 316437 | 14494254 | 10389027 | 7.1662 | 66_74.dat | 220 | 1988746 | 248 | 310 | 276 | 160817 | 7191513.5 | 5146967 | 3.6161
65_73.dat | 220 | 2009736 | 100 | 240 | 220 | 2009736 | 86622370 | 61191549 | 0.97209 | 65_76.dat | 220 | 2075601 | 100 | 240 | 220 | 2075601 | 85414916.5 | 60460590 | 0.9763 |  |  | 1.943 |  | 65_76.dat | 220 | 2075601 | 248 | 310 | 278 | 325178 | 15164250 | 10819589 | 7.306 | 65_73.dat | 220 | 2009736 | 248 | 310 | 279 | 167514 | 7557036 | 5393471 | 3.7602
64_72.dat | 220 | 1882464 | 100 | 240 | 220 | 1882464 | 77966457 | 55226380 | 0.91053 | 64_75.dat | 220 | 1858269 | 100 | 240 | 220 | 1858269 | 78242427 | 55146454 | 0.9936 |  |  | 1.8954 |  | 64_75.dat | 220 | 1858269 | 248 | 310 | 278 | 299743 | 13992305.5 | 9981011 | 7.5298 | 64_72.dat | 220 | 1882464 | 248 | 310 | 281 | 165923 | 7478455.5 | 5357984 | 3.9727
63_71.dat | 220 | 2033874 | 100 | 240 | 220 | 2033874 | 86193622.5 | 60757639 | 0.98376 | 63_74.dat | 220 | 2079120 | 100 | 240 | 220 | 2079120 | 85347119.5 | 60508358 | 0.98038 |  |  | 1.7815 |  | 63_74.dat | 220 | 2079120 | 248 | 310 | 277 | 328881 | 14981093 | 10738809 | 7.2055 | 63_71.dat | 220 | 2033874 | 248 | 310 | 281 | 181702 | 8226322.5 | 5848069 | 4.0447
62_70.dat | 220 | 2068499 | 100 | 240 | 220 | 2068499 | 85806973 | 60687196 | 1.0005 | 62_73.dat | 220 | 2061209 | 100 | 240 | 220 | 2061209 | 85355968.5 | 60548437 | 0.9849 |  |  | 1.8922 |  | 62_73.dat | 220 | 2061209 | 248 | 310 | 281 | 327009 | 15371853.5 | 10968413 | 7.4577 | 62_70.dat | 220 | 2068499 | 248 | 310 | 278 | 180921 | 8152700 | 5810831 | 3.9414
61_69.dat | 220 | 1982331 | 100 | 240 | 220 | 1982331 | 82457504 | 58265872 | 0.95883 | 61_72.dat | 220 | 2003697 | 100 | 240 | 220 | 2003697 | 82085030 | 57927765 | 0.98563 |  |  | 1.859 |  | 61_72.dat | 220 | 2003697 | 248 | 310 | 276 | 309672 | 14343935.5 | 10270905 | 7.1587 | 61_69.dat | 220 | 1982331 | 248 | 310 | 278 | 174278 | 7633561 | 5420662 | 3.8508
[8 empty] | 59081979 | [9 empty] | średnia | 0.9865 | 4.92 | 6895 | 1.8901 | 1.01 |  |  | 2016749.1667 | [5 empty] | 10527959 | 7.304 | [9 empty] | 3.8643
60_66.dat | 220 | 1816694 | 100 | 240 | 220 | 1816694 | 78805728 | 55844298 | 0.87871 | 60_71.dat | 220 | 2016272 | 100 | 240 | 220 | 2016272 | 84080672.5 | 59304298 | 1.0777 |  |  | 1.8142 |  | 60_71.dat | 220 | 2016272 | 248 | 310 | 280 | 300538 | 13976438 | 10024753 | 6.9318 | 60_66.dat | 220 | 1816694 | 248 | 310 | 279 | 155124 | 6941301 | 4953978 | 3.8208
59_65.dat | 220 | 1986552 | 100 | 240 | 220 | 1986552 | 85547989 | 60484702 | 0.96087 | 59_68.dat | 220 | 2176974 | 100 | 240 | 220 | 2176974 | 90836933 | 64215577 | 1.0725 |  |  | 1.9018 |  | 59_68.dat | 220 | 2176974 | 248 | 310 | 281 | 330036 | 15437950.5 | 11086575 | 7.0915 | 59_65.dat | 220 | 1986552 | 248 | 310 | 279 | 163974 | 7407689 | 5304716 | 3.7289
58_64.dat | 220 | 1949169 | 100 | 240 | 220 | 1949169 | 83763231 | 59149876 | 0.94279 | 58_67.dat | 220 | 2110895 | 100 | 240 | 220 | 2110895 | 87631688 | 61876247 | 1.0568 |  |  | 1.845 |  | 58_67.dat | 220 | 2110895 | 248 | 310 | 281 | 306393 | 14433729.5 | 10373352 | 6.8377 | 58_64.dat | 220 | 1949169 | 248 | 310 | 279 | 157865 | 7223889 | 5161729 | 3.7061
57_63.dat | 220 | 1906125 | 100 | 240 | 220 | 1906125 | 81292883.5 | 57354355 | 0.92197 | 57_66.dat | 220 | 2093097 | 100 | 240 | 220 | 2093097 | 85171265.5 | 60136188 | 1.0583 |  |  | 1.8267 |  | 57_66.dat | 220 | 2093097 | 248 | 310 | 277 | 318682 | 14469765 | 10385693 | 6.9131 | 57_63.dat | 220 | 1906125 | 248 | 310 | 279 | 165690 | 7213514.5 | 5135644 | 3.7844
56_62.dat | 220 | 1994487 | 100 | 240 | 220 | 1994487 | 85865172 | 60627341 | 0.96471 | 56_65.dat | 220 | 2171038 | 100 | 240 | 220 | 2171038 | 89161817.5 | 63080064 | 1.0489 |  |  | 1.8016 |  | 56_65.dat | 220 | 2171038 | 248 | 310 | 280 | 317405 | 14887551 | 10671439 | 6.8573 | 56_62.dat | 220 | 1994487 | 248 | 310 | 279 | 165431 | 7591722 | 5466325 | 3.8064
55_61.dat | 220 | 2066065 | 100 | 240 | 220 | 2066065 | 87560221 | 61570236 | 0.99933 | 55_64.dat | 220 | 2183725 | 100 | 240 | 220 | 2183725 | 90097086.5 | 63817276 | 1.0394 |  |  | 1.8607 |  | 55_64.dat | 220 | 2183725 | 248 | 310 | 279 | 322340 | 15005165.5 | 10752866 | 6.8714 | 55_61.dat | 220 | 2066065 | 248 | 310 | 279 | 170790 | 7629954 | 5457950 | 3.693
[8 empty] | 59171801.3333 | [9 empty] | średnia | 1.0589 | 5.5 | 6855 | 1.8413 | 0.99 |  |  | 2125333.5 | [5 empty] | 10549113 | 6.9171 | [9 empty] | 3.7566
54_60.dat | 220 | 2009136 | 100 | 240 | 220 | 2009136 | 84918783.5 | 59948526 | 0.9718 | 54_63.dat | 220 | 2183782 | 100 | 240 | 220 | 2183782 | 89581205 | 63252538 | 1.0764 |  |  | 1.7049 |  | 54_63.dat | 220 | 2183782 | 248 | 310 | 278 | 301908 | 13687589 | 9792377 | 6.2678 | 54_60.dat | 220 | 2009136 | 248 | 310 | 280 | 165992 | 7386146 | 5242083 | 3.6763
53_59.dat | 220 | 2001659 | 100 | 240 | 220 | 2001659 | 83470309 | 59011126 | 0.96818 | 53_62.dat | 220 | 2142423 | 100 | 240 | 220 | 2142423 | 87977160.5 | 62327946 | 1.0755 |  |  | 1.7711 |  | 53_62.dat | 220 | 2142423 | 248 | 310 | 279 | 296853 | 13520092.5 | 9638808 | 6.3107 | 53_59.dat | 220 | 2001659 | 248 | 310 | 279 | 162074 | 7132093 | 5100889 | 3.5631
52_58.dat | 220 | 2013594 | 100 | 240 | 220 | 2013594 | 85968940 | 60886551 | 0.97395 | 52_61.dat | 220 | 2244195 | 100 | 240 | 220 | 2244195 | 92056514.5 | 65058648 | 1.0927 |  |  | 1.5993 |  | 52_61.dat | 220 | 2244195 | 248 | 310 | 291 | 305787 | 13519460.5 | 9702726 | 6.0242 | 52_58.dat | 220 | 2013594 | 248 | 310 | 279 | 167416 | 7584709 | 5405587 | 3.7668
51_57.dat | 220 | 2022169 | 100 | 240 | 220 | 2022169 | 85466635 | 60363258 | 0.9781 | 51_60.dat | 220 | 2218300 | 100 | 240 | 220 | 2218300 | 92323221 | 65247852 | 1.1023 |  |  | 1.5924 |  | 51_60.dat | 220 | 2218300 | 248 | 310 | 280 | 311449 | 14347629.5 | 10278690 | 6.4678 | 51_57.dat | 220 | 2022169 | 248 | 310 | 279 | 181238 | 8213323 | 5853518 | 4.0616
50_56.dat | 220 | 2126682 | 100 | 240 | 220 | 2126682 | 88628987.5 | 62645118 | 1.0287 | 50_59.dat | 220 | 2342239 | 100 | 240 | 220 | 2342239 | 96215828 | 67706995 | 1.1078 |  |  | 1.5936 |  | 50_59.dat | 220 | 2342239 | 248 | 310 | 281 | 315063 | 14528551 | 10392813 | 6.2028 | 50_56.dat | 220 | 2126682 | 248 | 310 | 279 | 184616 | 8277942 | 5923825 | 3.8924
49_55.dat | 220 | 2042612 | 100 | 240 | 220 | 2042612 | 85738629.5 | 60549971 | 0.98799 | 49_58.dat | 220 | 2218844 | 100 | 240 | 220 | 2218844 | 92122285.5 | 65193828 | 1.0964 |  |  | 1.5983 |  | 49_58.dat | 220 | 2218844 | 248 | 310 | 278 | 306446 | 14004560.5 | 10071917 | 6.3116 | 49_55.dat | 220 | 2042612 | 248 | 310 | 279 | 177875 | 8066276.5 | 5755925 | 3.949
[8 empty] | 60567425 | [9 empty] | średnia | 1.0918 | 6.3 | 6802 | 1.6406 | 0.98 |  |  | 2224963.8333 | [5 empty] | 9979555.1667 | 6.2642 | [9 empty] | 3.8182
48_54.dat | 220 | 1839412 | 100 | 240 | 220 | 1839412 | 77086881 | 54602067 | 0.8897 | 48_57.dat | 220 | 2044503 | 100 | 240 | 220 | 2044503 | 84919789.5 | 60033889 | 1.1127 |  |  | 1.4712 |  | 48_57.dat | 220 | 2044503 | 248 | 310 | 277 | 262933 | 11906661 | 8546528 | 5.8237 | 48_54.dat | 220 | 1839412 | 248 | 310 | 278 | 163411 | 7281119.5 | 5216107 | 3.9584
47_53.dat | 220 | 2096715 | 100 | 240 | 220 | 2096715 | 89332955.5 | 63012149 | 1.0142 | 47_56.dat | 220 | 2377801 | 100 | 240 | 220 | 2377801 | 97761728 | 69027992 | 1.1054 |  |  | 1.4968 |  | 47_56.dat | 220 | 2377801 | 248 | 310 | 280 | 293016 | 13694579 | 9737635 | 5.7593 | 47_53.dat | 220 | 2096715 | 248 | 310 | 280 | 179223 | 8067589 | 5772443 | 3.8477
46_52.dat | 220 | 2032372 | 100 | 240 | 220 | 2032372 | 87583791.5 | 61965357 | 0.98304 | 46_55.dat | 220 | 2293646 | 100 | 240 | 220 | 2293646 | 94301327.5 | 66820739 | 1.0876 |  |  | 1.4924 |  | 46_55.dat | 220 | 2293646 | 248 | 310 | 281 | 287268 | 13202454 | 9427129 | 5.7561 | 46_52.dat | 220 | 2032372 | 248 | 310 | 282 | 172735 | 7838514 | 5596256 | 3.8568
45_51.dat | 220 | 2131793 | 100 | 240 | 220 | 2131793 | 88171367.5 | 62183753 | 1.0311 | 45_54.dat | 220 | 2373700 | 100 | 240 | 220 | 2373700 | 97873668.5 | 68795799 | 1.1213 |  |  | 1.6117 |  | 45_54.dat | 220 | 2373700 | 248 | 310 | 277 | 303681 | 13835410 | 9899771 | 5.8286 | 45_51.dat | 220 | 2131793 | 248 | 310 | 280 | 172422 | 7709638 | 5486793 | 3.6165
44_50.dat | 220 | 2035825 | 100 | 240 | 220 | 2035825 | 85328675.5 | 60428845 | 0.98471 | 44_53.dat | 220 | 2320410 | 100 | 240 | 220 | 2320410 | 96322757 | 67880946 | 1.1402 |  |  | 1.6037 |  | 44_53.dat | 220 | 2320410 | 248 | 310 | 275 | 292786 | 13166827 | 9530893 | 5.6744 | 44_50.dat | 220 | 2035825 | 248 | 310 | 277 | 162350 | 7203521.5 | 5190897 | 3.5384
43_49.dat | 220 | 2073123 | 100 | 240 | 220 | 2073123 | 86856517 | 61424524 | 1.0027 | 43_52.dat | 220 | 2316351 | 100 | 240 | 220 | 2316351 | 95727043.5 | 67714973 | 1.1133 |  |  | 1.6292 |  | 43_52.dat | 220 | 2316351 | 248 | 310 | 280 | 294067 | 13515582.5 | 9711854 | 5.8349 | 43_49.dat | 220 | 2073123 | 248 | 310 | 277 | 165118 | 7424757.5 | 5320575 | 3.5814
[8 empty] | 60602782.5 | [9 empty] | średnia | 1.1134 | 7.7 | 6717 | 1.5481 | 0.99 |  |  | 2287735.1667 | [5 empty] | 9475635 | 5.7795 | [9 empty] | 3.7332
42_48.dat | 220 | 2156773 | 100 | 240 | 220 | 2156773 | 90126875 | 63286227 | 1.0432 | 42_51.dat | 220 | 2470385 | 100 | 240 | 220 | 2470385 | 100751866 | 71276889 | 1.096 |  |  | 1.4578 |  | 42_51.dat | 220 | 2470385 | 248 | 310 | 278 | 291047 | 13036833.5 | 9317878 | 5.2772 | 42_48.dat | 220 | 2156773 | 248 | 310 | 278 | 174607 | 7807307.5 | 5553274 | 3.6199
41_47.dat | 220 | 2002456 | 100 | 240 | 220 | 2002456 | 84573969 | 59451740 | 0.96857 | 41_50.dat | 220 | 2335952 | 100 | 240 | 220 | 2335952 | 95832504.5 | 67824542 | 1.1109 |  |  | 1.4639 |  | 41_50.dat | 220 | 2335952 | 248 | 310 | 280 | 280331 | 12396137.5 | 8795084 | 5.3067 | 41_47.dat | 220 | 2002456 | 248 | 310 | 276 | 164061 | 7259180.5 | 5164644 | 3.6251
40_44.dat | 220 | 2041888 | 100 | 240 | 220 | 2041888 | 87894584 | 62160470 | 0.98764 | 40_49.dat | 220 | 2437239 | 100 | 240 | 220 | 2437239 | 98899424.5 | 69886243 | 1.1031 |  |  | 1.3829 |  | 40_49.dat | 220 | 2437239 | 248 | 310 | 277 | 286922 | 12931096 | 9245930 | 5.3056 | 40_44.dat | 220 | 2041888 | 248 | 310 | 279 | 173161 | 7833820 | 5613378 | 3.8366
39_43.dat | 220 | 2123978 | 100 | 240 | 220 | 2123978 | 89435325.5 | 63288071 | 1.0273 | 39_46.dat | 220 | 2453099 | 100 | 240 | 220 | 2453099 | 100927438.5 | 71349923 | 1.1064 |  |  | 1.3233 |  | 39_46.dat | 220 | 2453099 | 248 | 310 | 281 | 292705 | 13267261.5 | 9514708 | 5.4084 | 39_43.dat | 220 | 2123978 | 248 | 310 | 281 | 194198 | 8680894 | 6202958 | 4.0871
38_42.dat | 220 | 2156993 | 100 | 240 | 220 | 2156993 | 91078331.5 | 64389800 | 1.0433 | 38_45.dat | 220 | 2506487 | 100 | 240 | 220 | 2506487 | 103556139.5 | 73239463 | 1.1147 |  |  | 1.2956 |  | 38_45.dat | 220 | 2506487 | 248 | 310 | 278 | 290333 | 13326675 | 9569044 | 5.3169 | 38_42.dat | 220 | 2156993 | 248 | 310 | 281 | 191473 | 8851628 | 6343712 | 4.1037
37_41.dat | 220 | 1999513 | 100 | 240 | 220 | 1999513 | 86274424.5 | 60902412 | 0.96714 | 37_44.dat | 220 | 2347286 | 100 | 240 | 220 | 2347286 | 96097022.5 | 68299507 | 1.092 |  |  | 1.2924 |  | 37_44.dat | 220 | 2347286 | 248 | 310 | 279 | 276837 | 12712804.5 | 9062837 | 5.416 | 37_41.dat | 220 | 1999513 | 248 | 310 | 279 | 187711 | 8378883 | 5974037 | 4.1905
[8 empty] | 62246453.3333 | [9 empty] | średnia | 1.1039 | 10 | 6542 | 1.3652 | 1.02 |  |  | 2425074.6667 | [5 empty] | 9250913.5 | 5.3385 | [9 empty] | 3.9105
36_40.dat | 220 | 2182690 | 100 | 240 | 220 | 2182690 | 89441524.5 | 63344690 | 1.0557 | 36_43.dat | 220 | 2391921 | 100 | 240 | 220 | 2391921 | 97211827 | 68611893 | 1.0552 |  |  | 1.2611 |  | 36_43.dat | 220 | 2391921 | 248 | 310 | 278 | 259059 | 11625539 | 8332146 | 4.8603 | 36_40.dat | 220 | 2182690 | 248 | 310 | 277 | 189972 | 8412472 | 5990019 | 3.8542
35_39.dat | 220 | 2150329 | 100 | 240 | 220 | 2150329 | 89633527 | 63081652 | 1.0401 | 35_42.dat | 220 | 2362747 | 100 | 240 | 220 | 2362747 | 96550035.5 | 68012876 | 1.0458 |  |  | 1.2502 |  | 35_42.dat | 220 | 2362747 | 248 | 310 | 279 | 260683 | 11791265 | 8440647 | 4.9905 | 35_39.dat | 220 | 2150329 | 248 | 310 | 279 | 189015 | 8583391 | 6143158 | 3.9917
34_38.dat | 220 | 2136593 | 100 | 240 | 220 | 2136593 | 87971707.5 | 62115887 | 1.0334 | 34_41.dat | 220 | 2324589 | 100 | 240 | 220 | 2324589 | 94379917 | 66498346 | 1.0416 |  |  | 1.2582 |  | 34_41.dat | 220 | 2324589 | 248 | 310 | 278 | 253661 | 11120427 | 7950377 | 4.7838 | 34_38.dat | 220 | 2136593 | 248 | 310 | 280 | 185940 | 8123643.5 | 5775986 | 3.8021
33_37.dat | 220 | 2205584 | 100 | 240 | 220 | 2205584 | 91218129 | 64413487 | 1.0668 | 33_40.dat | 220 | 2363553 | 100 | 240 | 220 | 2363553 | 95948532.5 | 67743734 | 1.0212 |  |  | 1.2835 |  | 33_40.dat | 220 | 2363553 | 248 | 310 | 276 | 258455 | 11489359.5 | 8217414 | 4.8611 | 33_37.dat | 220 | 2205584 | 248 | 310 | 278 | 187607 | 8353433 | 5965257 | 3.7874
32_36.dat | 220 | 2148020 | 100 | 240 | 220 | 2148020 | 88543559 | 62535514 | 1.039 | 32_39.dat | 220 | 2329200 | 100 | 240 | 220 | 2329200 | 94637232 | 66990933 | 1.0377 |  |  | 1.3092 |  | 32_39.dat | 220 | 2329200 | 248 | 310 | 279 | 253984 | 11568316 | 8290100 | 4.9666 | 32_36.dat | 220 | 2148020 | 248 | 310 | 279 | 179562 | 8149147.5 | 5823623 | 3.7938
31_35.dat | 220 | 2208928 | 100 | 240 | 220 | 2208928 | 90145167.5 | 63966544 | 1.0684 | 31_38.dat | 220 | 2365343 | 100 | 240 | 220 | 2365343 | 95396939.5 | 67559992 | 1.0274 |  |  | 1.3129 |  | 31_38.dat | 220 | 2365343 | 248 | 310 | 278 | 257042 | 11443339.5 | 8195432 | 4.8379 | 31_35.dat | 220 | 2208928 | 248 | 310 | 278 | 179498 | 8139660.5 | 5776909 | 3.6849
[8 empty] | 63242962.3333 | [9 empty] | średnia | 1.0382 | 13 | 6365 | 1.2787 | 1.03 |  |  | 2356225.5 | [5 empty] | 8237686 | 4.8834 | [9 empty] | 3.819
30_34.dat | 220 | 2166796 | 100 | 240 | 220 | 2166796 | 89395391 | 63180560 | 1.0481 | 30_37.dat | 220 | 2369463 | 100 | 240 | 220 | 2369463 | 96840710 | 68286859 | 1.0833 |  |  | 1.3415 |  | 30_37.dat | 220 | 2369463 | 248 | 310 | 279 | 251852 | 11585967 | 8240870 | 4.8897 | 30_34.dat | 220 | 2166796 | 248 | 310 | 280 | 175694 | 7897905.5 | 5609372 | 3.645
29_33.dat | 220 | 2100027 | 100 | 240 | 220 | 2100027 | 86919829 | 61637020 | 1.0158 | 29_36.dat | 220 | 2279100 | 100 | 240 | 220 | 2279100 | 93845281 | 66498400 | 1.0797 |  |  | 1.3564 |  | 29_36.dat | 220 | 2279100 | 248 | 310 | 281 | 245403 | 11156083 | 8003281 | 4.895 | 29_33.dat | 220 | 2100027 | 248 | 310 | 281 | 169168 | 7578655 | 5399707 | 3.6088
28_32.dat | 220 | 2041256 | 100 | 240 | 220 | 2041256 | 86033576 | 60648705 | 0.98733 | 28_35.dat | 220 | 2350631 | 100 | 240 | 220 | 2350631 | 92775168 | 65271264 | 1.0784 |  |  | 1.2519 |  | 28_35.dat | 220 | 2350631 | 248 | 310 | 280 | 240945 | 10707899 | 7684055 | 4.5553 | 28_32.dat | 220 | 2041256 | 248 | 310 | 281 | 169697 | 7427684 | 5319582 | 3.6388
27_31.dat | 220 | 2061439 | 100 | 240 | 220 | 2061439 | 87505542.5 | 61874577 | 0.99709 | 27_34.dat | 220 | 2277726 | 100 | 240 | 220 | 2277726 | 93757041.5 | 66493727 | 1.0714 |  |  | 1.3261 |  | 27_34.dat | 220 | 2277726 | 248 | 310 | 279 | 241369 | 11061706.5 | 7938629 | 4.8565 | 27_31.dat | 220 | 2061439 | 248 | 310 | 279 | 168075 | 7549403 | 5379786 | 3.6622
26_30.dat | 220 | 2001526 | 100 | 240 | 220 | 2001526 | 84249395.5 | 59468053 | 0.96812 | 26_33.dat | 220 | 2201570 | 100 | 240 | 220 | 2201570 | 90869675.5 | 64186047 | 1.0786 |  |  | 1.2183 |  | 26_33.dat | 220 | 2201570 | 248 | 310 | 278 | 229710 | 10494269.5 | 7417262 | 4.7667 | 26_30.dat | 220 | 2001526 | 248 | 310 | 278 | 177183 | 7830912.5 | 5605955 | 3.9125
25_29.dat | 220 | 2090422 | 100 | 240 | 220 | 2090422 | 86694160 | 61351756 | 1.0111 | 25_32.dat | 220 | 2273739 | 100 | 240 | 220 | 2273739 | 93611756.5 | 66161036 | 1.0798 |  |  | 1.2168 |  | 25_32.dat | 220 | 2273739 | 248 | 310 | 280 | 236311 | 10589940.5 | 7517975 | 4.6575 | 25_29.dat | 220 | 2090422 | 248 | 310 | 279 | 183842 | 8001739.5 | 5721310 | 3.8278
[8 empty] | 61360111.8333 | [9 empty] | średnia | 1.0785 | 16 | 6098 | 1.2837 | 1 |  |  | 2292038.1667 | [5 empty] | 7800345.3333 | 4.7701 | [9 empty] | 3.7158
24_28.dat | 220 | 2067050 | 100 | 240 | 220 | 2067050 | 86106267.5 | 60920751 | 0.99981 | 24_31.dat | 220 | 2234871 | 100 | 240 | 220 | 2234871 | 92320474 | 65071630 | 1.083 |  |  | 1.1471 |  | 24_31.dat | 220 | 2234871 | 248 | 310 | 279 | 218541 | 9919252.5 | 7066534 | 4.4384 | 24_28.dat | 220 | 2067050 | 248 | 310 | 280 | 177742 | 7997719 | 5736525 | 3.8691
23_27.dat | 220 | 2142404 | 100 | 240 | 220 | 2142404 | 89640265.5 | 63213156 | 1.0363 | 23_30.dat | 220 | 2332587 | 100 | 240 | 220 | 2332587 | 95389027 | 67606451 | 1.0749 |  |  | 1.1652 |  | 23_30.dat | 220 | 2332587 | 248 | 310 | 280 | 223887 | 10244326.5 | 7291590 | 4.3918 | 23_27.dat | 220 | 2142404 | 248 | 310 | 279 | 180131 | 8075391.5 | 5775536 | 3.7693
22_26.dat | 220 | 2009336 | 100 | 240 | 220 | 2009336 | 85623211.5 | 60440692 | 0.97189 | 22_29.dat | 220 | 2205500 | 100 | 240 | 220 | 2205500 | 90633029 | 64140229 | 1.0692 |  |  | 1.1468 |  | 22_29.dat | 220 | 2205500 | 248 | 310 | 278 | 214853 | 9649726 | 6884761 | 4.3753 | 22_26.dat | 220 | 2009336 | 248 | 310 | 281 | 170364 | 7666082 | 5485837 | 3.8152
21_25.dat | 220 | 2101143 | 100 | 240 | 220 | 2101143 | 87664123.5 | 61754111 | 1.0163 | 21_28.dat | 220 | 2225920 | 100 | 240 | 220 | 2225920 | 91897620.5 | 64820686 | 1.0589 |  |  | 1.1851 |  | 21_28.dat | 220 | 2225920 | 248 | 310 | 281 | 212535 | 9654997 | 6916399 | 4.3375 | 21_25.dat | 220 | 2101143 | 248 | 310 | 278 | 172427 | 7690574.5 | 5506288 | 3.6602
20_22.dat | 220 | 2129010 | 100 | 240 | 220 | 2129010 | 88862842 | 62764811 | 1.0298 | 20_27.dat | 220 | 2316149 | 100 | 240 | 220 | 2316149 | 94153090.5 | 66565913 | 1.0702 |  |  | 1.1663 |  | 20_27.dat | 220 | 2316149 | 248 | 310 | 280 | 219640 | 10013594.5 | 7116200 | 4.3234 | 20_22.dat | 220 | 2129010 | 248 | 310 | 277 | 171310 | 7892345.5 | 5601092 | 3.707
19_21.dat | 220 | 2094053 | 100 | 240 | 220 | 2094053 | 87476119.5 | 61767473 | 1.0129 | 19_22.dat | 220 | 2236676 | 100 | 240 | 220 | 2236676 | 91051708.5 | 64311897 | 1.0514 |  |  | 1.1943 |  | 19_22.dat | 220 | 2236676 | 248 | 310 | 277 | 211551 | 9367906 | 6727882 | 4.1883 | 19_21.dat | 220 | 2094053 | 248 | 310 | 277 | 166661 | 7343847 | 5267118 | 3.507
[8 empty] | 61810165.6667 | [9 empty] | średnia | 1.0679 | 21 | 5645 | 1.1669 | 0.99 |  |  | 2258617.1667 | [5 empty] | 7000561 | 4.3425 | [9 empty] | 3.7213
18_20.dat | 220 | 2066933 | 100 | 240 | 220 | 2066933 | 87218288 | 61396541 | 0.99975 | 18_21.dat | 220 | 2205927 | 100 | 240 | 220 | 2205927 | 90152079.5 | 63406136 | 1.0336 |  |  | 1.1086 |  | 18_21.dat | 220 | 2205927 | 248 | 310 | 279 | 203220 | 8934077.5 | 6346750 | 4.05 | 18_20.dat | 220 | 2066933 | 248 | 310 | 278 | 168991 | 7551116 | 5403286 | 3.6533
17_19.dat | 220 | 2222909 | 100 | 240 | 220 | 2222909 | 90495206 | 64021058 | 1.0752 | 17_20.dat | 220 | 2285813 | 100 | 240 | 220 | 2285813 | 92033462 | 65027621 | 1.017 |  |  | 1.1544 |  | 17_20.dat | 220 | 2285813 | 248 | 310 | 280 | 207245 | 9153651 | 6545364 | 4.0045 | 17_19.dat | 220 | 2222909 | 248 | 310 | 278 | 172404 | 7710958.5 | 5488088 | 3.4689
16_18.dat | 220 | 2082898 | 100 | 240 | 220 | 2082898 | 89213144 | 62822812 | 1.0075 | 16_19.dat | 220 | 2249290 | 100 | 240 | 220 | 2249290 | 90458758.5 | 64070450 | 1.014 |  |  | 1.1042 |  | 16_19.dat | 220 | 2249290 | 248 | 310 | 278 | 208335 | 9170022.5 | 6552231 | 4.0769 | 16_18.dat | 220 | 2082898 | 248 | 310 | 278 | 170359 | 7690549.5 | 5496980 | 3.6922
15_17.dat | 220 | 2065048 | 100 | 240 | 220 | 2065048 | 87566244.5 | 61601485 | 0.99884 | 15_18.dat | 220 | 2176888 | 100 | 240 | 220 | 2176888 | 90773982 | 63925786 | 1.0366 |  |  | 1.2009 |  | 15_18.dat | 220 | 2176888 | 248 | 310 | 279 | 196099 | 9027749.5 | 6449612 | 4.1471 | 15_17.dat | 220 | 2065048 | 248 | 310 | 278 | 156017 | 7131199 | 5106807 | 3.4533
14_16.dat | 220 | 2064556 | 100 | 240 | 220 | 2064556 | 85525034.5 | 60649452 | 0.9986 | 14_17.dat | 220 | 2179168 | 100 | 240 | 220 | 2179168 | 88802998.5 | 62863599 | 1.0383 |  |  | 1.2 |  | 14_17.dat | 220 | 2179168 | 248 | 310 | 278 | 209532 | 9508946 | 6799742 | 4.3636 | 14_16.dat | 220 | 2064556 | 248 | 310 | 278 | 165172 | 7507273.5 | 5371114 | 3.6363
13_15.dat | 220 | 2131892 | 100 | 240 | 220 | 2131892 | 88492863 | 62697772 | 1.0312 | 13_16.dat | 220 | 2262159 | 100 | 240 | 220 | 2262159 | 92044782.5 | 65071178 | 1.0401 |  |  | 1.0699 |  | 13_16.dat | 220 | 2262159 | 248 | 310 | 275 | 211554 | 9489612.5 | 6747990 | 4.1949 | 13_15.dat | 220 | 2131892 | 248 | 310 | 278 | 186444 | 8358894.5 | 5983619 | 3.9209
[8 empty] | 62198186.6667 | [9 empty] | średnia | 1.0299 | 30 | 4462 | 1.138 | 1 |  |  | 2226540.8333 | [5 empty] | 6573614.8333 | 4.1395 | [9 empty] | 3.6375
12_14.dat | 220 | 1978971 | 100 | 240 | 220 | 1978971 | 82379947 | 58068868 | 0.95721 | 12_15.dat | 220 | 2107702 | 100 | 240 | 220 | 2107702 | 86781515.5 | 61180414 | 1.043 |  |  | 1.0891 |  | 12_15.dat | 220 | 2107702 | 248 | 310 | 282 | 198753 | 9002816 | 6388008 | 4.2714 | 12_14.dat | 220 | 1978971 | 248 | 310 | 279 | 174218 | 7761236.5 | 5554131 | 3.9219
11_13.dat | 220 | 2135439 | 100 | 240 | 220 | 2135439 | 88770958 | 62879677 | 1.0329 | 11_14.dat | 220 | 2246492 | 100 | 240 | 220 | 2246492 | 92689150.5 | 65564862 | 1.0338 |  |  | 1.0773 |  | 11_14.dat | 220 | 2246492 | 248 | 310 | 281 | 210770 | 9497056 | 6796538 | 4.2275 | 11_13.dat | 220 | 2135439 | 248 | 310 | 278 | 185969 | 8379598 | 5992442 | 3.9241
10_12.dat | 220 | 2183949 | 100 | 240 | 220 | 2183949 | 90234554 | 63823361 | 1.0564 | 10_13.dat | 220 | 2283377 | 100 | 240 | 220 | 2283377 | 94364450 | 66408795 | 1.0354 |  |  | 1.1014 |  | 10_13.dat | 220 | 2283377 | 248 | 310 | 279 | 212768 | 9665855 | 6911924 | 4.2331 | 10_12.dat | 220 | 2183949 | 248 | 310 | 280 | 186453 | 8393689.5 | 5994852 | 3.8434
9_11.dat | 220 | 2029686 | 100 | 240 | 220 | 2029686 | 86365412.5 | 60978282 | 0.98174 | 9_12.dat | 220 | 2171198 | 100 | 240 | 220 | 2171198 | 89404317.5 | 62968319 | 1.0249 |  |  | 1.0742 |  | 9_12.dat | 220 | 2171198 | 248 | 310 | 278 | 187795 | 8541145.5 | 6107555 | 3.9338 | 9_11.dat | 220 | 2029686 | 248 | 310 | 279 | 166628 | 7432946.5 | 5361961 | 3.6621
8_10.dat | 220 | 2200473 | 100 | 240 | 220 | 2200473 | 91595508.5 | 64756403 | 1.0643 | 8_11.dat | 220 | 2334568 | 100 | 240 | 220 | 2334568 | 95999775.5 | 67773931 | 1.0377 |  |  | 1.0856 |  | 8_11.dat | 220 | 2334568 | 248 | 310 | 277 | 217103 | 9657205 | 6875683 | 4.1366 | 8_10.dat | 220 | 2200473 | 248 | 310 | 281 | 186776 | 8384840.5 | 6012259 | 3.8105
7_9.dat | 220 | 2224356 | 100 | 240 | 220 | 2224356 | 91930627.5 | 64914160 | 1.0759 | 7_10.dat | 220 | 2334748 | 100 | 240 | 220 | 2334748 | 95026461.5 | 67041338 | 1.0234 |  |  | 1.091 |  | 7_10.dat | 220 | 2334748 | 248 | 310 | 278 | 203383 | 9058836.5 | 6482150 | 3.88 | 7_9.dat | 220 | 2224356 | 248 | 310 | 276 | 177441 | 7910593.5 | 5656685 | 3.5564
[8 empty] | 62570125.1667 | [9 empty] | średnia | 1.0331 | 42 | 2645 | 1.0865 | 1.01 |  |  | 2246347.5 | [5 empty] | 6593643 | 4.1137 | [9 empty] | 3.7864
6_8.dat | 220 | 2098954 | 100 | 240 | 220 | 2098954 | 87052500.5 | 61434354 | 1.0152 | 6_9.dat | 220 | 2138280 | 100 | 240 | 220 | 2138280 | 87348743 | 61761674 | 1.0034 |  |  | 1.0719 |  | 6_9.dat | 220 | 2138280 | 248 | 310 | 280 | 191963 | 8571223 | 6092725 | 4.0085 | 6_8.dat | 220 | 2098954 | 248 | 310 | 281 | 175410 | 7849503.5 | 5583023 | 3.7397
5_7.dat | 220 | 2113721 | 100 | 240 | 220 | 2113721 | 88309182.5 | 62511912 | 1.0224 | 5_8.dat | 220 | 2152150 | 100 | 240 | 220 | 2152150 | 89078415 | 62868240 | 1.0087 |  |  | 1.0744 |  | 5_8.dat | 220 | 2152150 | 248 | 310 | 280 | 189947 | 8590157.5 | 6078046 | 3.9914 | 5_7.dat | 220 | 2113721 | 248 | 310 | 281 | 170031 | 7852642.5 | 5550252 | 3.7151
4_6.dat | 220 | 2166345 | 100 | 240 | 220 | 2166345 | 89243865 | 63063402 | 1.0478 | 4_7.dat | 220 | 2067108 | 100 | 240 | 220 | 2067108 | 86729537.5 | 61266096 | 0.97183 |  |  | 1.1237 |  | 4_7.dat | 220 | 2067108 | 248 | 310 | 278 | 183356 | 8238563 | 5900690 | 3.9856 | 4_6.dat | 220 | 2166345 | 248 | 310 | 277 | 174048 | 7683393 | 5455824 | 3.5467
3_5.dat | 220 | 2122013 | 100 | 240 | 220 | 2122013 | 87735642.5 | 62155123 | 1.0264 | 3_6.dat | 220 | 1879743 | 100 | 240 | 220 | 1879743 | [7 empty] | 3_6.dat | 220 |  | 248 | 310 | 279 | 170366 |  |  |  | 3_5.dat | 220 | 2122013 | 248 | 310 | 278 | 168931 | 7665339 | 5457550 | 3.6123
2_4.dat | 220 | 2138233 | 100 | 240 | 220 | 2138233 | 90247006.5 | 63673780 | 1.0342 | 2_5.dat | 220 | 2202047 | 100 | 240 | 220 | 2202047 | 89185626.5 | 63007663 | 0.98824 |  |  | 1.099 |  | 2_5.dat | 220 | 2202047 | 248 | 310 | 280 | 198965 | 8716454.5 | 6188371 | 3.9583 | 2_4.dat | 220 | 2138233 | 248 | 310 | 279 | 173461 | 7701068 | 5509592 | 3.6016
1_3.dat | 220 | 2250345 | 100 | 240 | 220 | 2250345 | 93918561 | 66242856 | 1.0885 | 1_4.dat | 220 | 2242475 | 100 | 240 | 220 | 2242475 | 91539262.5 | 64395175 | 0.97467 |  |  | 1.1047 |  | 1_4.dat | 220 | 2242475 | 248 | 310 | 280 | 196521 | 8768672.5 | 6269671 | 3.9103 | 1_3.dat | 220 | 2250345 | 248 | 310 | 278 | 174449 | 7965713.5 | 5687361 | 3.5398
|  | 2067445.2286 | [5 empty] | 63180237.8333 | [10 empty] | 0.98937 | 55 | 0 | 1.0951 | 1 |  |  | 2160412 | [6 empty] | 3.9708 | [9 empty] | 3.6259

## 10.10.23_mcp
Co_60_1Gy | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum | Eff | E[MeV] | Koło [kroki] | Protony | MaxX | GlobalMax | From | To | LocalMaxX | LocalMaxY | Integral | Sum | dawka [Gy]
70_80.dat | 220 | 42508362 | 100 | 240 | 220 | 42508362 | 1256320016.5 | 13610558410 | 0.44928 | det. odwrócone |  | 70_79.dat | 220 | 18427955 | 100 | 240 | 220 | 18427955 | 564443402.5 | 613592983
69_79.dat | 220 | 38203506 | 100 | 240 | 220 | 38203506 | 1138491415.5 | 12385048820 | 0.46103 | det. odwrócone |  | 69_78.dat | 220 | 16996202 | 100 | 240 | 220 | 16996202 | 524880421.5 | 571438654
68_78.dat | 220 | 41660407 | 100 | 240 | 220 | 41660407 | 1241656416 | 13524165150 | 0.45441 | det. odwrócone |  | 68_77.dat | 220 | 18104315 | 100 | 240 | 220 | 18104315 | 564216580 | 610142876
67_77.dat | 220 | 42709273 | 100 | 240 | 220 | 42709273 | 1257025300.5 | 13687997340 | 0.44979 | det. odwrócone |  | 67_76.dat | 220 | 18265912 | 100 | 240 | 220 | 18265912 | 565394725 | 611431676
[9 empty] | 0.45363 | 4.92 | 6895
66_76.dat | 220 | 42641536 | 100 | 240 | 220 | 42641536 | 1263693110 | 13740569700 | 0.47318 |  |  | 66_75.dat | 220 | 19169129 | 100 | 240 | 220 | 19169129 | 592029830 | 643495892
65_75.dat | 220 | 42952716 | 100 | 240 | 220 | 42952716 | 1282359240 | 13950983540 | 0.46597 |  |  | 65_74.dat | 220 | 19216204 | 100 | 240 | 220 | 19216204 | 591621669 | 641184083
64_74.dat | 220 | 42622975 | 100 | 240 | 220 | 42622975 | 1269973060 | 13751818630 | 0.46174 |  |  | 64_73.dat | 220 | 18972686 | 100 | 240 | 220 | 18972686 | 580596167.5 | 630756744
63_73.dat | 220 | 41295916 | 100 | 240 | 220 | 41295916 | 1241411872 | 13481563380 | 0.46049 |  |  | 63_72.dat | 220 | 18437890 | 100 | 240 | 220 | 18437890 | 565992291.5 | 620554150
62_72.dat | 220 | 41035697 | 100 | 240 | 220 | 41035697 | 1227525206.5 | 13356167490 | 0.45116 |  |  | 62_71.dat | 220 | 17832244 | 100 | 240 | 220 | 17832244 | 548330922.5 | 595873172
61_71.dat | 220 | 41478009 | 100 | 240 | 220 | 41478009 | 1243183787 | 13502267120 | 0.46802 |  |  | 61_70.dat | 220 | 18643440 | 100 | 240 | 220 | 18643440 | 576078004 | 627716711
[9 empty] | 0.46343 | 4.92 | 6895 | [9 empty] | 1.01
60_70.dat | 220 | 42993628 | 100 | 240 | 220 | 42993628 | 1318891516 | 14328217500 | 0.50899 |  |  | 60_69.dat | 220 | 21848632 | 100 | 240 | 220 | 21848632 | 678088864.5 | 737932244
59_69.dat | 220 | 44296447 | 100 | 240 | 220 | 44296447 | 1339398764.5 | 14560393820 | 0.50291 |  |  | 59_66.dat | 220 | 22065581 | 100 | 240 | 220 | 22065581 | 680397850.5 | 738808778
58_66.dat | 220 | 42180794 | 100 | 240 | 220 | 42180794 | 1277387764.5 | 13857162540 | 0.49812 |  |  | 58_65.dat | 220 | 20650410 | 100 | 240 | 220 | 20650410 | 642718033 | 696248131
57_65.dat | 220 | 41701670 | 100 | 240 | 220 | 41701670 | 1280045454 | 13969711030 | 0.49878 |  |  | 57_64.dat | 220 | 20477812 | 100 | 240 | 220 | 20477812 | 644911511 | 702605562
56_64.dat | 220 | 37960042 | 100 | 240 | 220 | 37960042 | 1147620456.5 | 12509405110 | 0.50365 |  |  | 56_63.dat | 220 | 18505589 | 100 | 240 | 220 | 18505589 | 583838773 | 634871034
55_63.dat | 220 | 42387465 | 100 | 240 | 220 | 42387465 | 1245945168 | 13495675550 | 0.49332 |  |  | 55_62.dat | 220 | 20513126 | 100 | 240 | 220 | 20513126 | 620855739.5 | 674210327
[9 empty] | 0.50096 | 5.5 | 6855 | [9 empty] | 0.99
54_62.dat | 220 | 39479272 | 100 | 240 | 220 | 39479272 | 1182187181.5 | 12909938330 | 0.52824 |  |  | 54_61.dat | 220 | 20930452 | 100 | 240 | 220 | 20930452 | 637228036 | 696626195
53_61.dat | 220 | 41330777 | 100 | 240 | 220 | 41330777 | 1213138314.5 | 13199141690 | 0.52248 |  |  | 53_60.dat | 220 | 21092059 | 100 | 240 | 220 | 21092059 | 646778920 | 701414029
52_60.dat | 220 | 42936312 | 100 | 240 | 220 | 42936312 | 1271317351.5 | 13799775280 | 0.51142 |  |  | 52_59.dat | 220 | 21868719 | 100 | 240 | 220 | 21868719 | 663445396.5 | 720893742
51_59.dat | 220 | 43063298 | 100 | 240 | 220 | 43063298 | 1264304909 | 13703011980 | 0.51041 |  |  | 51_58.dat | 220 | 21741405 | 100 | 240 | 220 | 21741405 | 658483592.5 | 715333993
50_58.dat | 220 | 42907561 | 100 | 240 | 220 | 42907561 | 1262293068 | 13699338590 | 0.52193 |  |  | 50_57.dat | 220 | 21926068 | 100 | 240 | 220 | 21926068 | 672268453 | 728809473
49_57.dat | 220 | 45268946 | 100 | 240 | 220 | 45268946 | 1329205735 | 14438204550 | 0.52617 |  |  | 49_56.dat | 220 | 23859442 | 100 | 240 | 220 | 23859442 | 713663969 | 773763960
[9 empty] | 0.52011 | 6.3 | 6802 | [9 empty] | 0.98
48_56.dat | 220 | 42408166 | 100 | 240 | 220 | 42408166 | 1244521822.5 | 13565619360 | 0.58132 |  |  | 48_55.dat | 220 | 23929048 | 100 | 240 | 220 | 23929048 | 730776149.5 | 795039111
47_55.dat | 220 | 42318030 | 100 | 240 | 220 | 42318030 | 1230951294.5 | 13395119080 | 0.58127 |  |  | 47_54.dat | 220 | 23837005 | 100 | 240 | 220 | 23837005 | 722737741.5 | 785118543
46_54.dat | 220 | 43556748 | 100 | 240 | 220 | 43556748 | 1274524099.5 | 13872188650 | 0.58309 |  |  | 46_53.dat | 220 | 24555468 | 100 | 240 | 220 | 24555468 | 750667821.5 | 812762878
45_53.dat | 220 | 43950220 | 100 | 240 | 220 | 43950220 | 1289118482 | 14010507850 | 0.58099 |  |  | 45_52.dat | 220 | 25274532 | 100 | 240 | 220 | 25274532 | 756535196.5 | 827155274
44_52.dat | 220 | 42764136 | 100 | 240 | 220 | 42764136 | 1264017047 | 13697538960 | 0.57595 |  |  | 44_51.dat | 220 | 24308196 | 100 | 240 | 220 | 24308196 | 735359177 | 798086878
43_51.dat | 220 | 40517506 | 100 | 240 | 220 | 40517506 | 1209305383.5 | 13153907070 | 0.58414 |  |  | 43_50.dat | 220 | 23674596 | 100 | 240 | 220 | 23674596 | 713538809 | 776257081
[9 empty] | 0.58113 | 7.7 | 6717 | [9 empty] | 0.99
42_50.dat | 220 | 41330413 | 100 | 240 | 220 | 41330413 | 1224379537.5 | 13338466000 | 0.66294 |  |  | 42_49.dat | 220 | 26579008 | 100 | 240 | 220 | 26579008 | 795777596 | 862806565
41_49.dat | 220 | 40775600 | 100 | 240 | 220 | 40775600 | 1209845460.5 | 13136247790 | 0.65703 |  |  | 41_48.dat | 220 | 26040600 | 100 | 240 | 220 | 26040600 | 779317211.5 | 843541684
40_48.dat | 220 | 44132344 | 100 | 240 | 220 | 44132344 | 1302703538.5 | 14112729810 | 0.65038 |  |  | 40_47.dat | 220 | 27707451 | 100 | 240 | 220 | 27707451 | 830636007 | 899840353
39_47.dat | 220 | 41283468 | 100 | 240 | 220 | 41283468 | 1231585346.5 | 13403544110 | 0.64704 |  |  | 39_44.dat | 220 | 25896753 | 100 | 240 | 220 | 25896753 | 781257189.5 | 845554550
38_44.dat | 220 | 41312324 | 100 | 240 | 220 | 41312324 | 1213336438 | 13295128470 | 0.674 |  |  | 38_43.dat | 220 | 26919194 | 100 | 240 | 220 | 26919194 | 801753508.5 | 869819380
37_43.dat | 220 | 43863773 | 100 | 240 | 220 | 43863773 | 1290008233 | 14004844080 | 0.67318 |  |  | 37_42.dat | 220 | 28251766 | 100 | 240 | 220 | 28251766 | 851384118 | 922640706
[9 empty] | 0.66076 | 10 | 6542 | [9 empty] | 1.02
36_42.dat | 220 | 41988253 | 100 | 240 | 220 | 41988253 | 1237801951 | 13518661060 | 0.69785 |  |  | 36_41.dat | 220 | 28047370 | 100 | 240 | 220 | 28047370 | 838637404.5 | 908138189
35_41.dat | 220 | 41748606 | 100 | 240 | 220 | 41748606 | 1239546862.5 | 13518577780 | 0.69061 |  |  | 35_40.dat | 220 | 27533363 | 100 | 240 | 220 | 27533363 | 831113395 | 902199197
34_40.dat | 220 | 42264752 | 100 | 240 | 220 | 42264752 | 1250203886 | 13524075010 | 0.67656 |  |  | 34_39.dat | 220 | 27566180 | 100 | 240 | 220 | 27566180 | 821196825.5 | 893665503
33_39.dat | 220 | 42770372 | 100 | 240 | 220 | 42770372 | 1260505210 | 13739432310 | 0.68669 |  |  | 33_38.dat | 220 | 28105059 | 100 | 240 | 220 | 28105059 | 840361219 | 911159409
32_38.dat | 220 | 41666755 | 100 | 240 | 220 | 41666755 | 1216051833 | 13262639430 | 0.67545 |  |  | 32_37.dat | 220 | 26720756 | 100 | 240 | 220 | 26720756 | 797456117 | 865663038
31_37.dat | 220 | 44271700 | 100 | 240 | 220 | 44271700 | 1309161413.5 | 14165053660 | 0.66939 |  |  | 31_36.dat | 220 | 28623012 | 100 | 240 | 220 | 28623012 | 850812719.5 | 924915943
[9 empty] | 0.68276 | 13 | 6365 | [9 empty] | 1.03
30_36.dat | 220 | 42667900 | 100 | 240 | 220 | 42667900 | 1258474225.5 | 13715294330 | 0.70064 |  |  | 30_35.dat | 220 | 29595477 | 100 | 240 | 220 | 29595477 | 881733269 | 956877667
29_35.dat | 220 | 41348908 | 100 | 240 | 220 | 41348908 | 1224794821.5 | 13276974650 | 0.6836 |  |  | 29_34.dat | 220 | 28367202 | 100 | 240 | 220 | 28367202 | 837263651.5 | 912069356
28_34.dat | 220 | 43079301 | 100 | 240 | 220 | 43079301 | 1268225083.5 | 13809484900 | 0.67792 |  |  | 28_33.dat | 220 | 29534648 | 100 | 240 | 220 | 29534648 | 859753312.5 | 937829518
27_33.dat | 220 | 43497525 | 100 | 240 | 220 | 43497525 | 1297177395 | 14075417070 | 0.68902 |  |  | 27_32.dat | 220 | 30054221 | 100 | 240 | 220 | 30054221 | 893777234.5 | 970844720
26_32.dat | 220 | 43290507 | 100 | 240 | 220 | 43290507 | 1252399359 | 13624456040 | 0.69546 |  |  | 26_31.dat | 220 | 29431830 | 100 | 240 | 220 | 29431830 | 870998927 | 946232430
25_31.dat | 220 | 43227103 | 100 | 240 | 220 | 43227103 | 1275914928.5 | 13838546860 | 0.70567 |  |  | 25_30.dat | 220 | 30019245 | 100 | 240 | 220 | 30019245 | 900371076.5 | 981523863
[9 empty] | 0.69205 | 16 | 6098 | [9 empty] | 1
24_30.dat | 220 | 41902394 | 100 | 240 | 220 | 41902394 | 1230225819.5 | 13370963220 | 0.73809 |  |  | 24_29.dat | 220 | 30728071 | 100 | 240 | 220 | 30728071 | 917189638 | 992693869
23_29.dat | 220 | 42680181 | 100 | 240 | 220 | 42680181 | 1252831349.5 | 13586654300 | 0.7351 |  |  | 23_28.dat | 220 | 31541461 | 100 | 240 | 220 | 31541461 | 930257644.5 | 10117335420
22_28.dat | 220 | 41420774 | 100 | 240 | 220 | 41420774 | 1231351977.5 | 13378455830 | 0.73214 |  |  | 22_27.dat | 220 | 30359404 | 100 | 240 | 220 | 30359404 | 910622474.5 | 989856508
21_27.dat | 220 | 44146489 | 100 | 240 | 220 | 44146489 | 1292538957 | 14091137300 | 0.71578 |  |  | 21_26.dat | 220 | 31659935 | 100 | 240 | 220 | 31659935 | 934519753.5 | 10144235560
20_26.dat | 220 | 42979393 | 100 | 240 | 220 | 42979393 | 1274483840.5 | 13800645330 | 0.71265 |  |  | 20_25.dat | 220 | 31033747 | 100 | 240 | 220 | 31033747 | 917431934 | 10004789680
19_25.dat | 220 | 41934916 | 100 | 240 | 220 | 41934916 | 1236022726.5 | 13499792430 | 0.72914 |  |  | 19_22.dat | 220 | 30758986 | 100 | 240 | 220 | 30758986 | 910337559.5 | 989635455
[9 empty] | 0.72715 | 21 | 5645 | [9 empty] | 0.99
18_22.dat | 220 | 42817631 | 100 | 240 | 220 | 42817631 | 1249169042 | 13674037840 | 0.78416 |  |  | 18_21.dat | 220 | 33169780 | 100 | 240 | 220 | 33169780 | 979545824 | 10665699390
17_21.dat | 220 | 45367238 | 100 | 240 | 220 | 45367238 | 1320761783 | 14357311020 | 0.7826 |  |  | 17_20.dat | 220 | 35330212 | 100 | 240 | 220 | 35330212 | 1033631291 | 11244269170
16_20.dat | 220 | 44793750 | 100 | 240 | 220 | 44793750 | 1311240304.5 | 14276717380 | 0.76563 |  |  | 16_19.dat | 220 | 34224181 | 100 | 240 | 220 | 34224181 | 1003921401.5 | 10916760910
15_19.dat | 220 | 41431116 | 100 | 240 | 220 | 41431116 | 1237306872.5 | 13482880400 | 0.77463 |  |  | 15_18.dat | 220 | 32477292 | 100 | 240 | 220 | 32477292 | 958449586.5 | 10487479130
14_18.dat | 220 | 40282032 | 100 | 240 | 220 | 40282032 | 1202386267.5 | 13082388700 | 0.79148 |  |  | 14_17.dat | 220 | 32022170 | 100 | 240 | 220 | 32022170 | 951665658.5 | 10355635440
13_17.dat | 220 | 41398509 | 100 | 240 | 220 | 41398509 | 1221328386 | 13329390610 | 0.79155 |  |  | 13_16.dat | 220 | 32472917 | 100 | 240 | 220 | 32472917 | 966737938.5 | 10499441410
[9 empty] | 0.78167 | 30 | 4462 | [9 empty] | 1
12_16.dat | 220 | 44005698 | 100 | 240 | 220 | 44005698 | 1306198229 | 14235389430 | 0.85826 |  |  | 12_15.dat | 220 | 37279606 | 100 | 240 | 220 | 37279606 | 1109952834 | 12105292270
11_15.dat | 220 | 44857282 | 100 | 240 | 220 | 44857282 | 1320294968 | 14316661360 | 0.85955 |  |  | 11_14.dat | 220 | 38502265 | 100 | 240 | 220 | 38502265 | 1123617560.5 | 12223175340
10_14.dat | 220 | 40970462 | 100 | 240 | 220 | 40970462 | 1187950412.5 | 12926714470 | 0.85817 |  |  | 10_13.dat | 220 | 34099151 | 100 | 240 | 220 | 34099151 | 1009369642.5 | 10931327900
9_13.dat | 220 | 40417175 | 100 | 240 | 220 | 40417175 | 1184921432 | 12875866650 | 0.86036 |  |  | 9_12.dat | 220 | 34377961 | 100 | 240 | 220 | 34377961 | 1009368088 | 10942935310
8_12.dat | 220 | 41005025 | 100 | 240 | 220 | 41005025 | 1187613349.5 | 12868660590 | 0.84581 |  |  | 8_11.dat | 220 | 34404452 | 100 | 240 | 220 | 34404452 | 994547657.5 | 10871131550
7_11.dat | 220 | 43087997 | 100 | 240 | 220 | 43087997 | 1269109203.5 | 13814888590 | 0.85127 |  |  | 7_10.dat | 220 | 36325314 | 100 | 240 | 220 | 36325314 | 1069656124.5 | 11673181950
[9 empty] | 0.85557 | 42 | 2645 | [9 empty] | 1.01
6_10.dat | 220 | 41752370 | 100 | 240 | 220 | 41752370 | 1250622328.5 | 13530680970 | 0.85184 |  |  | 6_9.dat | 220 | 36135196 | 100 | 240 | 220 | 36135196 | 1054787789.5 | 11489694970
5_9.dat | 220 | 43937943 | 100 | 240 | 220 | 43937943 | 1290176152 | 13952466350 | 0.84512 |  |  | 5_8.dat | 220 | 38051921 | 100 | 240 | 220 | 38051921 | 1090356559 | 11886864200
4_8.dat | 220 | 43990872 | 100 | 240 | 220 | 43990872 | 1288079673.5 | 14012632090 | 0.84203 |  |  | 4_7.dat | 220 | 37945265 | 100 | 240 | 220 | 37945265 | 1084600223 | 11839491910
3_7.dat | 220 | 43491464 | 100 | 240 | 220 | 43491464 | 1290798705.5 | 13984001090 | 0.84355 |  |  | 3_6.dat | 220 | 37603310 | 100 | 240 | 220 | 37603310 | 1088858040 | 11879522880
2_6.dat | 220 | 41209867 | 100 | 240 | 220 | 41209867 | 1236974721 | 13457619830 | 0.83846 |  |  | 2_5.dat | 220 | 35211108 | 100 | 240 | 220 | 35211108 | 1037159853.5 | 11249451790
1_5.dat | 220 | 44775354 | 100 | 240 | 220 | 44775354 | 1307467668 | 14215098930 | 0.82886 |  |  | 1_4.dat | 220 | 37337157 | 100 | 240 | 220 | 37337157 | 1083712249 | 11829868830
[9 empty] | 0.84165 | 55 | 0 | [9 empty] | 1

## Zbiorczy_IFJ
ekin_beg_MeV | ekin_end_MeV | Koło | HTR | 2pairs | Eff_mts | Eff_mcp | tLET_beg_keV_um | tLET_end_keV_um
8.0825 | 4.9228 | 6895 | 1.8901 | 2.1287 | 0.9865 | 0.46343 | 6.0468 | 10.097
8.8127 | 5.5178 | 6855 | 1.8413 | 2.1138 | 1.0589 | 0.50096 | 5.5243 | 9.0136
9.7446 | 6.3491 | 6802 | 1.6406 | 2.0992 | 1.0918 | 0.52011 | 4.9871 | 7.8373
11.075 | 7.7295 | 6717 | 1.5481 | 1.916 | 1.1134 | 0.58113 | 4.4034 | 6.3501
13.6111 | 10.7395 | 6542 | 1.3652 | 1.6706 | 1.1039 | 0.66076 | 3.6593 | 4.5308
15.8345 | 13.3443 | 6365 | 1.2787 | 1.5205 | 1.0382 | 0.68276 | 3.211 | 3.7244
18.7995 | 16.6647 | 6098 | 1.2837 | 1.5584 | 1.0785 | 0.69205 | 2.7752 | 3.0731
23.0866 | 21.3229 | 5645 | 1.1669 | 1.4687 | 1.0679 | 0.72715 | 2.3342 | 2.4909
32.0835 | 30.7456 | 4462 | 1.138 | 1.3176 | 1.0299 | 0.78167 | 1.7962 | 1.8508
43.833 | 42.8087 | 2645 | 1.0865 | 1.2074 | 1.0331 | 0.85557 | 1.4019 | 1.4272
56.743 | 55.8758 | 0 | 1.0951 | 1.1755 | 0.98937 | 0.84165 | 1.1283 | 1.1418